15-069

1.  State Building Code to be Amended:

International Building Code	  State Energy Code

ICC ANSI A117.1 Accessibility Code	  International Mechanical Code

International Existing Building Code	  International Fuel Gas Code

X  International Residential Code	  NFPA 54 National Fuel Gas Code

International Fire Code	  NFPA 58 Liquefied Petroleum Gas Code

Uniform Plumbing Code	  Wildland Urban Interface Code

Section(s):      	Figure 602.10.8.2

(e.g.:  Section: R403.2)

Title: Braced Wall Panel Connection option to perpendicular rafters or roof trusses

(e.g: Footings for wood foundations)

2.  Proponent Name (Specific local government, organization or individual):

Proponent:	Annie O’Rourke

Title:

Date:  March 1, 2015

3.  Designated Contact Person:

Name:	   Annie O’Rourke

Title:

Address:   PO Box 1246  Port Angeles, WA  98362

Office Phone:  360-417-5615

Cell:  360-808-3296

E-Mail address:  draftingsolutions@olypen.com

4.  Proposed Code Amendment. Reproduce the section to be amended by underlining all added language, striking through all deleted language.  Insert new sections in the appropriate place in the code in order to continue the established numbering system of the code.  If more than one section is proposed for amendment or more than one page is needed for reproducing the affected section of the code additional pages may be attached.  (Examples on the SBCC website)

Code(s) ____IRC_______________         Section(s) __Figure_602.10.8.2____________________

Enforceable code language must be used; see an example by clicking here.

Amend section to read as follows:

Delete Figure R602.10.8.2(3) and replace with both the section and elevation of Figure R602.10.8.2(3) from the 2012 IRC.

- Briefly explain your proposed amendment, including the purpose, benefits and problems addressed. Specifically note any impacts or benefits to business, and specify construction types, industries and services that would be affected. Finally, please note any potential impact on enforcement such as special reporting requirements or additional inspections required.

The figures provided in the 2012 IRC are much more explanatory than the single figure supplied in the 2015 IRC.  This proposal is to delete the single figure and replace it with the (2) figures from the 2012 IRC.

- Specify what criteria this proposal meets. You may select more than one.

The amendment is needed to address a critical life/safety need.

The amendment is needed to address a specific state policy or statute.

The amendment is needed for consistency with state or federal regulations.

The amendment is needed to address a unique character of the state.

X  The amendment corrects errors and omissions.

- Is there an economic impact:   Yes     X No

Explain:   NO change in code, this simply adds clarity.

If there is an economic impact, use the Table below to estimate the costs and savings of the proposal on construction practices, users and/or the public, the enforcement community, and operation and maintenance. If preferred, you may submit an alternate cost benefit analysis.

| Building Type | Construction |  | Enforcement |  | Operations & Maintenance |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Costs | Benefits | Costs | Benefits4 | Costs | Benefits4 |
| Residential |  |  |  |  |  |  |
| Single family |  |  |  |  |  |  |
| Multi-family |  |  |  |  |  |  |
| Commercial/Retail |  |  |  |  |  |  |
| Industrial |  |  |  |  |  |  |
| Institutional |  |  |  |  |  |  |

Please send your completed proposal to:  sbcc@ga.wa.gov

All questions must be answered to be considered complete.  Incomplete proposals will not be accepted.

$ / square foot of floor area or other cost.  Attach data. Construction costs are costs prior to occupancy, and include both design and direct construction costs

that impact the total cost of the construction to the owner/consumer.

Cost per project plan.  Attach data. Enforcement costs include governmental review of plans, field inspection, and other action required for enforcement.

Cost to building owner/tenants over the life of the project.

Measurable benefit.