**Chapter 51-11R WAC**

STATE BUILDING CODE ADOPTION AND AMENDMENT OF
THE 2015 EDITION OF THE
INTERNATIONAL ENERGY CONSERVATION CODE,
RESIDENTIAL PROVISIONS

**WASHINGTON STATE ENERGY CODE, RESIDENTIAL PROVISIONS**

**TABLE OF CONTENTS**

**Chapter 1** **Scope and
Administration** **RE-3**

R101 Scope and General
Requirements RE-3

R102 Alternate Materials—Method of
Construction, Design or
Insulating Systems RE-4

R103 Construction Documents RE-4

R104 Inspections RE-5

R105 Validity RE-6

R106 Referenced Standards RE-6

R107 Fees RE-6

R108 Stop Work Order RE-7

R109 Board of Appeals RE-7

R110 Violations RE-7

R111 Liability RE-7

**Chapter 2** **Definitions** **RE-9**

R201 General RE-9

R202 General Definitions RE-9

**Chapter 3** **General Requirements** **RE-13**

R301 Climate Zones RE-13

R302 Design Conditions RE-13

R303 Materials, Systems
and Equipment RE-13

**Chapter 4** **Residential Energy
Efficiency** **RE-19**

R401 General RE-19

R402 Building Envelope RE-19

R403 Systems RE-25

R404 Electrical Power and
Lighting Systems RE-27

R405 Simulated Performance
Alternative RE-27

R406 Additional Energy Efficiency
Requirements RE-32

R407 Energy Rating Index
Compliance Alternative RE-

**Chapter 5** **Existing Buildings**

R501 General RE-

R502 Building Envelope RE-

R503 Systems RE-

R504 Electrical Power and
Lighting Systems RE-

R505 Simulated Performance
Alternative RE-

**Chapter 6 Referenced Standards** **RE-37**

**Appendix RA Recommended Procedure for Worst-Case Testing of Atmospheric Venting Systems Under R402.4 or R405 Conditions ≤ 5 ACH50**

R401 General RE-

R402 Building Envelope RE-

R403 Systems RE-25

**Appendix RB Solar Ready Provisions – Detached One- and Two-Family Dwellings, Multiple Single Family Dwellings (Townhouses)**

R401 General RE-

R402 Building Envelope RE-

R403 Systems RE-

**Appendix C Exterior Design
Conditions RE-39**

**CHAPTER 1 [RE]**

**SCOPE AND ADMINISTRATION**

**SECTION R101**

**SCOPE AND GENERAL REQUIREMENTS**

**R101.1 Title.** This code shall be known as the *Washington State Energy Code,* and shall be cited as such. It is referred to herein as "this code."

**R101.2 Scope.** This code applies to *residential buildings* and the buildings sites and associated systems and equipment. This code shall be the maximum and minimum energy code for residential construction in each town, city and county.

**R101.3 Intent.** This code shall regulate the design and construction of buildings for the effective use and conservation of energy over the useful life of each building. This code is intended to provide flexibility to permit the use of innovative approaches and techniques to achieve this objective. This code is not intended to abridge safety, health or environmental requirements contained in other applicable codes or ordinances.

**R101.4 Applicability.** Where, in any specific case, different sections of this code specify different materials, methods of construction or other requirements, the most restrictive shall govern. Where there is a conflict between a general requirement and a specific requirement, the specific requirement shall govern.

.

.

**R101.4.1Mixed occupancy.** Where a building includes both *residential* and *commercial* occupancies, each occupancy shall be separately considered and meet the applicable provisions of the WSEC ‑ Commercial and Residential Provisions.

**R101.5 Compliance.** *Residential buildings* shall meet the provisions of WSEC ‑ Residential Provisions. *Commercial buildings* shall meet the provisions of WSEC ‑ Commercial Provisions.

**R101.5.1 Compliance materials.** The *code official* shall be permitted to approve specific computer software, worksheets, compliance manuals and other similar materials that meet the intent of this code.

1. .

**SECTION R102**

**APPLICABILITY – DUTIES AND POWERS OF THE CODE OFFICIAL**

**R102.1Alternative materials, design and methods of construction and equipment.** The provisions of this code are not intended to prevent the installation of any material or to prohibit any design or method of construction not specifically prescribed by this code, provided that any such alternative has been *approved*. The *code official* shall be permitted to *approve* an alternative material, design or method of construction where the *code official* finds that the proposed design is satisfactory and complies with the intent of the provisions of this code, and that the material, method or work offered is, for the purpose intended, at least the equivalent of that prescribed in this code.

**SECTION R103**

**CONSTRUCTION DOCUMENTS**

**R103.1 General.** Construction documents, technical reports and other supporting data shall be submitted in one or more sets with each application for a permit. The construction documents and technical reports shall be prepared by a registered design professional where required by the statutes of the jurisdiction in which the project is to be constructed. Where special conditions exist, the *code official* is authorized to require necessary construction documents to be prepared by a registered design professional.

**Exception:** The *code official* is authorized to waive the requirements for construction documents or other supporting data if the *code official* determines they are not necessary to confirm compliance with this code.

**R103.2 Information on construction documents.** Construction documents shall be drawn to scale upon suitable material. Electronic media documents are permitted to be submitted when *approved* by the *code official*. Construction documents shall be of sufficient clarity to indicate the location, nature and extent of the work proposed, and show in sufficient detail pertinent data and features of the building, systems and equipment as herein governed. Details shall include, but are not limited to, the following as applicable:

1. Insulation materials and their *R*-values.
2. Fenestration *U*-factors and SHGCs.
3. Area-weighted *U*-factor and SHGC calculations.
4. Mechanical system design criteria.
5. Mechanical and service water heating system and equipment types, sizes and efficiencies.
6. Equipment and systems controls.
7. Duct sealing, duct and pipe insulation and location.
8. Air sealing details.

**C103.2.1**. **Building thermal envelope depiction.** The building’s thermal envelope shall be represented on the construction documents.

**R103.3 Examination of documents.** The *code official* shall examine or cause to be examined the accompanying construction documents and shall ascertain whether the construction indicated and described is in accordance with the requirements of this code and other pertinent laws or ordinances. The *code official* is authorized to utilize a registered design professional or other *approved* entity not affiliated with the buildingdesign or construction in conducting the review of the plans and specifications for compliance with the code.

**R103.3.1 Approval of construction documents.** When the *code official* issues a permit where construction documents are required, the construction documents shall be endorsed in writing and stamped "Reviewed for Code Compliance." Such *approved* construction documents shall not be changed, modified or altered without authorization from the *code official*. Work shall be done in accordance with the *approved* construction documents.

 One set of construction documents so reviewed shall be retained by the *code official*. The other set shall be returned to the applicant, kept at the site of work and shall be open to inspection by the *code official* or a duly authorized representative.

**R103.3.2 Previous approvals.** This code shall not require changes in the construction documents, construction or designated occupancy of a structure for which a lawful permit has been heretofore issued or otherwise lawfully authorized, and the construction of which has been pursued in good faith within 180 days after the effective date of this code and has not been abandoned.

**R103.3.3 Phased approval.** The *code official* shall have the authority to issue a permit for the construction of part of an energy conservation system before the construction documents for the entire system have been submitted or *approved*, provided adequate information and detailed statements have been filed complying with all pertinent requirements of this code. The holders of such permit shall proceed at their own risk without assurance that the permit for the entire energy conservation system will be granted.

**R103.4 Amended construction documents.** Work shall be installed in accordance with the *approved* construction documents, and any changes made during construction that are not in compliance with the *approved* construction documents shall be resubmitted for approval as an amended set of construction documents.

**R103.5 Retention of construction documents.** One set of *approved* construction documents shall be retained by the *code official* for a period of not less than 180 days from date of completion of the permitted work, or as required by state or local laws.

**SECTION R104**

**INSPECTIONS**

**R104.1 General.** Construction or work for which a permit is required shall be subject to inspection by the *code official* or his or her designated agent, and such construction or work shall remain accessible and exposed for inspection purposes until *approved*. It shall be the duty of the permit applicant to cause the work to remain accessible and exposed for inspection purposes. Neither the *code official* nor the jurisdiction shall be liable for expense entailed in the removal or replacement of any material, product, system or building component required to allow inspection to validate compliance with this code.

**R104.2 Required inspections.** The *code official* or his or her designated agent, upon notification, shall make the inspections set forth in Sections R104.2.1 through R104.2.5.

**R104.2.1 Footing and foundation inspection.** Inspections associated with footings and foundations shall verify compliance with the code as to R-value, location, thickness, depth of burial and protection of insulation as required by the code and *approved* plans and specifications.

**R104.2.2 Framing and rough-in inspection.** Inspections at framing and rough-in shall be made before application of interior finish and shall verify compliance with the code as to types of insulation and corresponding R-values and their correct location and proper installation; fenestration properties (U-factor and SHGC) and proper installation; and air leakage controls as required by the code and approved plans and specifications.

**R104.2.2.1 Wall insulation inspection.** The building official, upon notification, shall make a wall insulation inspection in addition to those inspections required in Section R109 of the *International Residential Code*. This inspection shall be made after all wall and cavity insulation is in place and prior to cover.

**R104.2.3 Plumbing rough-in inspection.** Inspections at plumbing rough-in shall verify compliance as required by the code and *approved* plans and specifications as to types of insulation and corresponding R-values and protection, required controls.

**R104.2.4 Mechanical rough-in inspection.** Inspections at mechanical rough-in shall verify compliance as required by the code and *approved* plans and specifications as to installed HVAC equipment type and size, required controls, system insulation and corresponding R-value, system air leakage control, programmable thermostats, dampers, whole-house ventilation and minimum fan efficiency.

**Exception**: Systems serving multiple dwelling units shall be inspected in accordance with Section C104.2.4.

**R104.2.5 Final inspection.** The building shall have a final inspection and not be occupied until *approved*. The final inspection shall include verification of the installation of all required *building* systems, equipment and controls and their proper operation and the required number of high-efficacy lamps and fixtures.

**R104.3 Reinspection.** A building shall be reinspected when determined necessary by the *code official*.

**R104.4 Approved inspection agencies.** The *code official* is authorized to accept reports of third-partyinspection agencies not affiliated with the *building* design or construction, provided such agencies are *approved* as to qualifications and reliability relevant to the building components and systems they are inspecting.

**R104.5 Inspection requests.** It shall be the duty of the holder of the permit or their duly authorized agent to notify the *code official* when work is ready for inspection. It shall be the duty of the permit holder to provide access to and means for inspections of such work that are required by this code.

**R104.6 Reinspection and testing.** Where any work or installation does not pass an initial test or inspection, the necessary corrections shall be made so as to achieve compliance with this code. The work or installation shall then be resubmitted to the *code official* for inspection and testing.

**R104.7 Approval.** After the prescribed tests and inspections indicate that the work complies in all respects with this code, a notice of approval shall be issued by the *code official*.

**R104.7.1 Revocation.** The *code official* is authorized to, in writing, suspend or revoke a notice of approval issued under the provisions of this code wherever the certificate is issued in error, or on the basis of incorrect information supplied, or where it is determined that the building or structure, premise, or portion thereof is in violation of any ordinance or regulation or any of the provisions of this code.

**SECTION R105**

**VALIDITY**

**R105.1 General.** If a portion of this code is held to be illegal or void, such a decision shall not affect the validity of the remainder of this code.

**SECTION R106**

**REFERENCED STANDARDS**

**R106.1 Referenced codes and standards.** The codes and standards referenced in this code shall be those listed in Chapter 5, and such codes and standards shall be considered as part of the requirements of this code to the prescribed extent of each such reference and as further regulated in Sections R106.1.1 and R106.1.2.

**R106.1.1 Conflicts.** Where differences occur between provisions of this code and referenced codes and standards, the provisions of this code shall apply.

**R106.1.2 Provisions in referenced codes and standards.** Where the extent of the reference to a referenced code or standard includes subject matter that is within the scope of this code, the provisions of this code, as applicable, shall take precedence over the provisions in the referenced code or standard.

**R106.2 Application of references.** References to chapter or section numbers, or to provisions not specifically identified by number, shall be construed to refer to such chapter, section or provision of this code.

**R106.3Other laws.** The provisions of this code shall not be deemed to nullify any provisions of local, state or federal law. In addition to the requirements of this code, all occupancies shall conform to the provisions included in the state building code (chapter 19.27 RCW). In case of conflicts among codes enumerated in RCW 19.27.031 (1) through (4) and this code, an earlier named code shall govern over those following. In the case of conflict between the duct sealing and insulation requirements of this code and the duct insulation requirements of Sections 603 and 604 of the *International Mechanical Code*, the duct insulation requirements of this code shall govern.

**SECTION R107**

**FEES**

**R107.1 Fees.** A permit shall not be issued until the fees prescribed in Section R107.2 have been paid, nor shall an amendment to a permit be released until the additional fee, if any, has been paid.

**R107.2 Schedule of permit fees.** A fee for each permit shall be paid as required, in accordance with the schedule as established by the applicable governing authority.

**R107.3 Work commencing before permit issuance.** Any person who commences any work before obtaining the necessary permits shall be subject to an additional fee established by the *code official*, which shall be in addition to the required permit fees.

**R107.4 Related fees.** The payment of the fee for the construction, *alteration*, removal or demolition of work done in connection to or concurrently with the work or activity authorized by a permit shall not relieve the applicant or holder of the permit from the payment of other fees that are prescribed by law.

**R107.5 Refunds.** The *code official* is authorized to establish a refund policy.

**SECTION R108**

**STOP WORK ORDER**

**R108.1 Authority.** Whenever the *code official* finds any work regulated by this code being performed in a manner either contrary to the provisions of this code or dangerous or unsafe, the *code official* is authorized to issue a stop work order.

**R108.2 Issuance.** The stop work order shall be in writing and shall be given to the owner of the property involved, or to the owner's authorized agent, or to the person doing the work. Upon issuance of a stop work order, the cited work shall immediately cease. The stop work order shall state the reason for the order, and the conditions under which the cited work will be permitted to resume.

**R108.3 Emergencies.** Where an emergency exists, the *code official* shall not be required to give a written notice prior to stopping the work.

**R108.4 Failure to comply.** Any person who shall continue any work after having been served with a stop work order, except such work as that person is directed to perform to remove a violation or unsafe condition, shall be subject to a fine as set by the applicable governing authority.

**SECTION R109**

**BOARD OF APPEALS**

**R109.1 General.** In order to hear and decide appeals of orders, decisions or determinations made by the *code official* relative to the application and interpretation of this code, there shall be and is hereby created a board of appeals. The *code official* shall be an ex officio member of said board but shall have no vote on any matter before the board. The board of appeals shall be appointed by the governing body and shall hold office at its pleasure. The board shall adopt rules of procedure for conducting its business, and shall render all decisions and findings in writing to the appellant with a duplicate copy to the *code official*.

**R109.2 Limitations on authority.** An application for appeal shall be based on a claim that the true intent of this code or the rules legally adopted thereunder have been incorrectly interpreted, the provisions of this code do not fully apply or an equally good or better form of construction is proposed. The board shall have no authority to waive requirements of this code.

**R109.3 Qualifications.** The board of appeals shall consist of members who are qualified by experience and training and are not employees of the jurisdiction.

**SECTION R110**

**VIOLATIONS**

It shall be unlawful for any person, firm, or corporation to erect or construct any building, or remodel or rehabilitate any existing building or structure in the state, or allow the same to be done, contrary to or in violation of any of the provisions of this code.

**SECTION R111**

**LIABILITY**

Nothing contained in this code is intended to be nor shall be construed to create or form the basis for any liability on the part of any city or county or its officers, employees or agents for any injury or damage resulting from the failure of a building to conform to the provisions of this code.

**CHAPTER 2 [RE]**

**DEFINITIONS**

**SECTION R201**

**GENERAL**

**R201.1 Scope.** Unless stated otherwise, the following words and terms in this code shall have the meanings indicated in this chapter.

**R201.2 Interchangeability.** Words used in the present tense include the future; words in the masculine gender include the feminine and neuter; the singular number includes the plural and the plural includes the singular.

**R201.3 Terms defined in other codes.** Terms that are not defined in this code but are defined in the *International Building Code*, *International Fire Code*, *International Fuel Gas Code*, *International Mechanical Code*, *Uniform Plumbing Code* or the *International Residential Code* shall have the meanings ascribed to them in those codes.

**R201.4 Terms not defined.** Terms not defined by this chapter shall have ordinarily accepted meanings such as the context implies.

**SECTION R202**

**GENERAL DEFINITIONS**

**above-grade wall.** A wall enclosing *conditioned space* that is not a below-grade wall. This includes between-floor spandrels, peripheral edges of floors, roof and basement knee walls, dormer walls, gable end walls, walls enclosing a mansard roof and skylight shafts.

**accessible.** Admitting close approach as a result of not being guarded by locked doors, elevation or other effective means (see "*Readily accessible*").

**addition.** An extension or increase in the *conditioned space* floor area or height of a building or structure.

**advanced framed walls.** Studs framed on 24-inch centers with double top plate and single bottom plate. Corners use two studs or other means of fully insulating corners, and one stud is used to support each header. Headers consist of double 2x material with R-10 insulation between the header and exterior sheathing. Interior partition wall/exterior wall intersections are fully insulated in the exterior wall. (See **Standard Framing** and Appendix A, of this code.)

**air barrier.** Material(s) assembled and joined together to provide a barrier to air leakage through the building envelope. An air barrier may be a single material or a combination of materials.

**alteration.** Any construction, retrofit or renovation to an existing structure other than repair or addition that requires a permit. Also, a change in a building, electrical, gas, mechanical or plumbing system that involves an extension, addition or change to the arrangement, type or purpose of the original installation that requires a permit.

**approved.** Approval by the *code official* as a result of investigation and tests conducted by him or her, or by reason of accepted principles or tests by nationally recognized organizations.

**approved agency.** An established and recognized agency regularly engaged in conducting tests or furnishing inspection services, when such agency has been approved by the *code official*.

**automatic.** Self-acting, operating by its own mechanism when actuated by some impersonal influence, as, for example, a change in current strength, pressure, temperature or mechanical configuration (see "Manual").

**basement wall.** See *above-grade wall* and *below-grade wall*.

**below-grade wall.** That portion of a wall in the building envelope that is entirely below the finish grade and in contact with the ground.

**building.** Any structure used or intended for supporting or sheltering any use or occupancy, including any mechanical systems, service water heating systems and electric power and lighting systems located on the building site and supporting the building.

**building site.** A contiguous area of land that is under the ownership or control of one entity.

**building thermal envelope.** The *below-grade walls*, *above-grade walls*, floor, roof, and any other building elements that enclose *conditioned space* or provides a boundary between *conditioned space* and exempt or unconditioned space.

***c*-factor (thermal conductance).** The coefficient of heat transmission (surface to surface) through a building component or assembly, equal to the time rate of heat flow per unit area and the unit temperature difference between the warm side and cold side surfaces (Btu/h ft2 × °F) [W/(m2 × K)].

**circulating hot water system.** A specifically designed water distribution system where one or more pumps are operated in the service hot water piping to circulate heated water from the water-heating equipment to the fixture supply and back to the water-heating equipment.

**climate zone.** A geographical region based on climatic criteria as specified in this code.

**code official.** The officer or other designated authority charged with the administration and enforcement of this code, or a duly authorized representative.

**commercial building.** For this code, all buildings that are not included in the definition of "Residential buildings."

**conditioned floor area.** The horizontal projection of the floors associated with the *conditioned space*.

**conditioned space**. An area, room or space that is enclosed within the building thermal envelope and that is directly or indirectly heated or cooled. Spaces are indirectly heated or cooled where they communicate through openings with conditioned spaces, where they are separated from conditioned spaces by uninsulated walls, floors or ceilings, or where they contain uninsulated ducts, piping or other sources of heating or cooling.

**continuous air barrier.** A combination of materials and assemblies that restrict or prevent the passage of air through the building thermal envelope.

**continuous insulation (c.i.).** Insulating material that is continuous across all structural members without thermal bridges other than fasteners and service openings. It is installed on the interior or exterior or is integral to any opaque surface of the building envelope.

**curtain wall.** Fenestration products used to create an external nonload-bearing wall that is designed to separate the exterior and interior environments.

**demand recirculation water system.** A water distribution system where pump(s) prime the service hot water piping with heated water upon demand for hot water.

**duct.** A tube or conduit utilized for conveying air. The air passages of self-contained systems are not to be construed as air ducts.

**duct system.** A continuous passageway for the transmission of air that, in addition to ducts, includes duct fittings, dampers, plenums, fans and accessory air-handling equipment and appliances.

**dwelling unit.** A single unit providing complete independent living facilities for one or more persons, including permanent provisions for living, sleeping, eating, cooking and sanitation.

**energy analysis.** A method for estimating the annual energy use of the *proposed design* and *standard reference design* based on estimates of energy use.

**energy cost.** The total estimated annual cost for purchased energy for the building functions regulated by this code, including applicable demand charges.

**energy simulation tool.** An *approved* software program or calculation-based methodology that projects the annual energy use of a building.

**eri reference design**. A version of the rated designthat meets the minimum requirements of the 2006 *International Energy Conservation Code.*

**exterior wall.** Walls including both above-grade walls and below-grade walls.

**fenestration.** Products classified as either vertical fenestration or skylights.

**vertical fenestration.** Windows (fixed or movable), opaque doors, glazed doors, glazed block and combination opaque/glazed doors composed of glass or other transparent or translucent glazing materials and installed at a slope of at least 60 degrees from horizontal.

**skylight.** Glass or other transparent or translucent glazing material installed with a slope of less than 60 degrees from horizontal.

**fenestration area.** Total area of the fenestration measured using the rough opening, and including the glazing, sash and frame.

**fenestration product, field-fabricated.** A fenestration product whose frame is made at the construction site of standard dimensional lumber or other materials that were not previously cut, or otherwise formed with the specific intention of being used to fabricate a fenestration product or exterior door. Field fabricated does not include site-built fenestration.

**fenestration product, site-built.** A fenestration designed to be made up of field-glazed or field-assembled units using specific factory cut or otherwise factory-formed framing and glazing units. Examples of site-built fenestration include storefront systems, curtain walls, and atrium roof systems.

***f*-factor.** The perimeter heat loss factor for slab-on-grade floors (Btu/h × ft × °F) [W/(m × K)].

**heated slab-on-grade floor.** Slab-on-grade floor construction in which the heating elements, hydronic tubing, or hot air distribution system is in contact with, or placed within or under, the slab.

**high-efficacy lamps.** Compact fluorescent lamps, T-8 or smaller diameter linear fluorescent lamps, or lamps with a minimum efficacy of:

1. 60 lumens per watt for lamps over 40 watts;
2. 50 lumens per watt for lamps over 15 watts to 40 watts; and
3. 40 lumens per watt for lamps 15 watts or less.

**historic buildings**. Buildings that are listed in or eligible for listing in the National Register of Historic Places, or designated as historic under an appropriate state or local law.

**infiltration.** The uncontrolled inward air leakage into a building caused by the pressure effects of wind or the effect of differences in the indoor and outdoor air density or both.

**insulated siding.** A type ofcontinuous insulation with manufacturer-installed insulating material as an integral part of the cladding product having a minimum R-value of R-2.

**insulating sheathing.** An insulating board with a core material having a minimum *R*-value of R-2.

**integrated energy efficiency ratio (ieer).** A single-number figure of merit expressing cooling part-load EER efficiency for unitary air-conditioning and heat pump equipment on the basis of weighted operation at various load capacities for the equipment.

**intermediate framed walls.** Studs framed on 16-inch centers with double top plate and single bottom plate. Corners use two studs or other means of fully insulating corners, and each opening is framed by two studs. Headers shall be insulated to R-10.

**labeled.** Equipment, materials or products to which have been affixed a label, seal, symbol or other identifying mark of a nationally recognized testing laboratory, inspection agency or other organization concerned with product evaluation that maintains periodic inspection of the production of the above-labeled items and whose labeling indicates either that the equipment, material or product meets identified standards or has been tested and found suitable for a specified purpose.

**listed.** Equipment, materials, products or services included in a list published by an organization acceptable to the *code official* and concerned with evaluation of products or services that maintains periodic inspection of production of *listed* equipment or materials or periodic evaluation of services and whose listing states either that the equipment, material, product or service meets identified standards or has been tested and found suitable for a specified purpose.

**low-voltage lighting.** A lighting system consisting of an isolating power supply, the low voltage luminaires, and associated equipment that are all identified for the use. The output circuits of the power supply operate at 30 volts (42.4 volts peak) or less under all load conditions.

**manual.** Capable of being operated by personal intervention (see "Automatic").

**proposed design.** A description of the proposed building used to estimate annual energy use for determining compliance based on total building performance.

**rated design.** A description of the proposed building used to determine the energy rating index.

**readily accessible.** Capable of being reached quickly for operation, renewal or inspection without requiring those to whom ready access is requisite to

climb over or remove obstacles or to resort to portable ladders or access equipment (see "*Accessible*").

**repair.** The reconstruction or renewal of any part of an existing building for the purpose of its maintenance or to correct damage.

**reroofing**. The process of recovering or replacing an existing *roof covering*. See “Roof recover” and “Roof replacement.”

**residential building.** For this code, includes detached one- and two-family dwellings and multiple single-family dwellings (townhouses) as well as Group R-2, R-3 and R-4 buildings three stories or less in height above grade plane.

**roof assembly.** A system designed to provide weather protection and resistance to design loads. The system consists of a roof covering and roof deck or a single component serving as both the roof covering and the roof deck. A roof assembly includes the roof covering, underlayment, roof deck, insulation, vapor retarder and interior finish.

**roof recover**. The process of installing an additional *roof covering* over a prepared existing *roof covering* without removing the existing *roof covering.*

**roof repair**. Reconstruction or renewal of any part of an existing roof for the purposes of its maintenance.

**roof replacement**. The process of removing the existing roof covering, repairing any damaged substrate and installing a new *roof covering*.

***r*-value (thermal resistance).** The inverse of the time rate of heat flow through a body from one of its bounding surfaces to the other surface for a unit temperature difference between the two surfaces, under steady state conditions, per unit area (*h* • ft2 • °F/Btu) [(m2 • K)/W].

**service water heating.** Supply of hot water for purposes other than comfort heating.

**skylight.** Glass or other transparent or translucent glazing material installed at a slope of less than 60 degrees (1.05 rad) from horizontal. Glazing material in skylights, including unit skylights, solariums, sunrooms, roofs and sloped walls is included in this definition.

**slab-on-grade floor.** That portion of a slab floor of the building envelope that is in contact with the ground and that is either above grade or is less than or equal to 24 inches below the final elevation of the nearest exterior grade.

**small business.** Any business entity (including a sole proprietorship, corporation, partnership or other legal entity) which is owned and operated independently from all other businesses, which has the purpose of making a profit, and which has fifty or fewer employees.

**solar heat gain coefficient (shgc).** The ratio of the solar heat gain entering the space through the fenestration assembly to the incident solar radiation. Solar heat gain includes directly transmitted solar heat and absorbed solar radiation which is then reradiated, conducted or convected into the space.

**standard framing.** All framing practices not defined as "intermediate" or "advanced" shall be considered standard. (See **Advanced Framed Wall, Intermediate Framed Wall**).

**standard reference design.** A version of the *proposed design* that meets the minimum requirements of this code and is used to determine the maximum annual energy use requirement for compliance based on total building performance.

**thermal isolation.** Physical and space conditioning separation from *conditioned space(s)*. The *conditioned space(s)* shall be controlled as separate zones for heating and cooling or conditioned by separate equipment.

**thermostat.** An automatic control device used to maintain temperature at a fixed or adjustable set point.

***u*-factor (thermal transmittance).** The coefficient of heat transmission (air to air) through a building component or assembly, equal to the time rate of heat flow per unit area and unit temperature difference between the warm side and cold side air films (Btu/h • ft2 • °F) [W/(m2 • K)].

**unheated slab-on-grade floor.** A slab-on-grade floor that is not a heated slab-on-grade floor.

**ventilation.** The natural or mechanical process of supplying conditioned or unconditioned air to, or removing such air from, any space.

**ventilation air.** That portion of supply air that comes from outside (outdoors) plus any recirculated air that has been treated to maintain the desired quality of air within a designated space.

**vertical fenestration.** All fenestration other than skylights.

**visible transmittance [vt].** The ratio of visible light entering the space through the fenestration product assembly to the incident visible light, visible transmittance, includes the effects of glazing material and frame and is expressed as a number between 0
and 1.

**whole house mechanical ventilation system.** An exhaust system, supply system, or combination thereof that is designed to mechanically exchange indoor air with outdoor air when operating continuously or through a programmed intermittent schedule to satisfy the whole house ventilation rates.

**zone.** A space or group of spaces within a building with heating or cooling requirements that are sufficiently similar so that desired conditions can be maintained throughout using a single controlling device.

**CHAPTER 3 [RE]**

**GENERAL REQUIREMENTS**

**SECTION R301**

**CLIMATE ZONES**

**R301.1 General.** Climate zones from Table R301.1 shall be used in determining the applicable requirements from Chapter 4.

**TABLE R301.1**

**CLIMATE ZONES, MOISTURE REGIMES,
AND WARM-HUMID DESIGNATIONS
BY STATE AND COUNTY**

|  |
| --- |
| Key: A ‑ Moist, B ‑ Dry, C ‑ Marine. Absence of moisture designation indicates moisture regime is irrelevant.  |
| **washington** |  |
| 5B Adams | 4C Lewis |
| 5B Asotin | 5B Lincoln |
| 5B Benton | 4C Mason |
| 5B Chelan | 5B Okanogan |
| 4C Clallam | 4C Pacific |
| 4C Clark | 5B Pend Oreille |
| 5B Columbia | 4C Pierce |
| 4C Cowlitz | 4C San Juan |
| 5B Douglas | 4C Skagit |
| 5B Ferry | 5B Skamania |
| 5B Franklin | 4C Snohomish |
| 5B Garfield | 5B Spokane |
| 5B Grant | 5B Stevens |
| 4C Grays Harbor | 4C Thurston |
| 4C Island | 4C Wahkiakum |
| 4C Jefferson | 5B Walla Walla |
| 4C King | 4C Whatcom |
| 4C Kitsap | 5B Whitman |
| 5B Kittitas | 5B Yakima |
| 5B Klickitat |  |

**SECTION R302**

**DESIGN CONDITIONS**

**R302.1 Interior design conditions.** The interior design temperatures used for heating and cooling load calculations shall be a maximum of 72°F (22°C) for heating and minimum of 75°F (24°C) for cooling.

**R302.2 Exterior design conditions.** The heating or cooling outdoor design temperatures shall be selected from Appendix C.

**SECTION R303**

**MATERIALS, SYSTEMS AND EQUIPMENT**

**R303.1 Identification.** Materials, systems and equipment shall be identified in a manner that will allow a determination of compliance with the applicable provisions of this code.

**R303.1.1 Building thermal envelope insulation.** An *R*-value identification mark shall be applied by the manufacturer to each piece of *building thermal envelope* insulation 12 inches (305 mm) or greater in width. Alternately, the insulation installers shall provide a certification listing the type, manufacturer and *R*-value of insulation installed in each element of the *building thermal envelope*. For blown or sprayed insulation (fiberglass and cellulose), the initial installed thickness, settled thickness, settled *R*-value, installed density, coverage area and number of bags installed shall be listed on the certification. For sprayed polyurethane foam (SPF) insulation, the installed thickness of the areas covered and *R*-value of installed thickness shall be listed on the certification. For insulated siding, the R-value shall be labeled on the product’s package and shall be listed on the certification. The insulation installer shall sign, date and post the certification in a conspicuous location on the job site.

**R303.1.1.1 Blown or sprayed roof/ceiling insulation.** The thickness of blown-in or sprayed roof/ceiling insulation (fiberglass or cellulose) shall be written in inches (mm) on markers that are installed at least one for every 300 square feet (28 m2) throughout the attic space. The markers shall be affixed to the trusses or joists and marked with the minimum initial installed thickness with numbers a minimum of 1 inch (25 mm) in height. Each marker shall face the attic access opening. Spray polyurethane foam thickness and installed *R*-value shall be *listed* on certification provided by the insulation installer.

**R303.1.2 Insulation mark installation.** Insulating materials shall be installed such that the manufacturer's *R*-value mark is readily observable upon inspection.

**R303.1.3 Fenestration product rating.** *U*-factors of fenestration products (windows, doors and skylights) shall be determined in accordance with NFRC 100.

**Exception:** Where required, garage door U-factors shall be determined in accordance with either NFRC 100 or ANSI/DASMA 105.

   U-factors shall be determined by an accredited, independent laboratory, and *labeled* and certified by the manufacturer.

   Products lacking such a labeled *U*-factor shall be assigned a default *U*-factor from Table R303.1.3(1), R303.1.3(2) or R303.1.3(4). The solar heat gain coefficient (SHGC) and visible transmittance (VT) of glazed fenestration products (windows, glazed doors and skylights) shall be determined in accordance with NFRC 200 by an accredited, independent laboratory, and labeled and certified by the manufacturer. Products lacking such a labeled SHGC or VT shall be assigned a default SHGC or VT from Table R303.1.3(3).

**Exception**: Units without NFRC ratings produced by a *small business* may be assigned default *U*-factors from Table R303.1.3(5) for vertical fenestration.

**TABLE R303.1.3(1)**

**DEFAULT GLAZED FENESTRATION *U*-FACTOR**

|  |  |  |  |
| --- | --- | --- | --- |
| **FRAME TYPE** | **SINGLE PANE** | **DOUBLE PANE** | **SKYLIGHT** |
| Metal  | 1.20 | 0.80 | **See Table R303.1.3(4)** |
| Metal with Thermal Break1 | 1.10 | 0.65 |
| Nonmetal or Metal Clad  | 0.95 | 0.55 |
| Glazed Block  | 0.60  |

1 Metal Thermal Break .= A metal thermal break framed window shall incorporate the following minimum design characteristics:

1. The thermal conductivity of the thermal break material shall be not more than 3.6 Btu-in/h/ft2/°F;
2. The thermal break material must produce a gap in the frame material of not less than 0.210 inches; and
3. All metal framing members of the products exposed to interior and exterior air shall incorporate a thermal break meeting the criteria in a) and b) above.

**R303.1.4 Insulation product rating.** The thermal resistance (*R*-value) of insulation shall be determined in accordance with the U.S. Federal Trade Commission *R*-value rule (C.F.R. Title 16, Part 460) in units of h × ft2 × °F/Btu at a mean temperature of 75°F (24°C).

**C303.1.4.1 Insulated siding**. The thermal resistance (R-value) of insulated siding shall be determined in accordance with ASTM C1363. Installation for testing shall be in accordance with the manufacturer’s installation instructions.

**R303.2 Installation.** All materials, systems and equipment shall be installed in accordance with the manufacturer's installation instructions and the *International Building Code* or *International Residential Code*, as applicable.

**R303.2.1 Protection of exposed foundation insulation.** Insulation applied to the exterior of basement walls, crawlspace walls and the perimeter of slab-on-grade floors shall have a rigid, opaque and weather-resistant protective covering to prevent the degradation of the insulation's thermal performance. The protective covering shall cover the exposed exterior insulation and extend a minimum of 6 inches (153 mm) below grade.

**R303.3 Maintenance information.** Maintenance instructions shall be furnished for equipment and systems that require preventive maintenance. Required regular maintenance actions shall be clearly stated and incorporated on a *readily accessible* label. The label shall include the title or publication number for the operation and maintenance manual for that particular model and type of product.

**TABLE R303.1.3(2)**

**DEFAULT DOOR *U*-FACTORS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Door Type** | **No Glazed Fenestration** | **Single Glazing** | **Double Glazing with ¼ in. Airspace** | **Double Glazing with ½ in. Airspace** | **Double Glazing with e=0.10, ½ in. Argon** |
| **SWINGING DOORS (Rough opening – 38 in. x 82 in.)** |
| **Slab Doors** |
| Wood slab in wood framea | 0.46 |  |  |  |  |
|  6% glazed fenestration (22 in. x 8 in. lite) | – | 0.48 | 0.47 | 0.46 | 0.44 |
|  25% glazed fenestration (22 in.x36 in. lite) | – | 0.58 | 0.48 | 0.46 | 0.42 |
|  45% glazed fenestration (22 in.x64 in. lite) | – | 0.69 | 0.49 | 0.46 | 0.39 |
|  More than 50% glazed fenestration | Use Table R303.1.3(1) |
| Insulated steel slab with wood edge in wood framea | 0.16 |  |  |  |  |
|  6% glazed fenestration (22 in. x 8 in. lite) | – | 0.21 | 0.20 | 0.19 | 0.18 |
|  25% glazed fenestration (22 in.x36 in. lite) | – | 0.39 | 0.28 | 0.26 | 0.23 |
|  45% glazed fenestration (22 in.x64 in. lite) | – | 0.58 | 0.38 | 0.35 | 0.26 |
|  More than 50% g glazed fenestration | Use Table R303.1.3(1) |
| Foam insulated steel slab with metal edge in steel frameb | 0.37 |  |  |  |  |
|  6% glazed fenestration (22 in. x 8 in. lite) | – | 0.44 | 0.42 | 0.41 | 0.39 |
|  25% glazed fenestration (22 in.x36 in. lite) | – | 0.55 | 0.50 | 0.48 | 0.44 |
|  45% glazed fenestration (22 in.x64 in. lite) | – | 0.71 | 0.59 | 0.56 | 0.48 |
|  More than 50% glazed fenestration | Use Table R303.1.3(1) |
| Cardboard honeycomb slab with metal edge in steel frameb | 0.61 |  |  |  |  |
| **Style and Rail Doors** |
|  Sliding glass doors/French doors | Use Table R303.1.3(1) |
| **Site-Assembled Style and Rail Doors** |
|  Aluminum in aluminum frame | – | 1.32 | 0.99 | 0.93 | 0.79 |
|  Aluminum in aluminum frame with  thermal break | – | 1.13 | 0.80 | 0.74 | 0.63 |

 Note: Appendix A Tables A107.1(2) through A107.1(4) may also be used if applicable.

 a Thermally broken sill (add 0.03 for nonthermally broken sill).

 b Nonthermally broken sill.

**TABLE R303.1.3(3)**

**DEFAULT GLAZED FENESTRATION SHGC AND VT**

|  |  |  |  |
| --- | --- | --- | --- |
|  | **SINGLE GLAZED** | **DOUBLE GLAZED** | **GLAZED BLOCK** |
| **Clear** | **Tinted** | **Clear** | **Tinted** |
| SHGC | 0.8 | 0.7 | 0.7 | 0.6 | 0.6 |
| VT  | 0.6 | 0.3 | 0.6 | 0.3 | 0.6 |

**TABLE R303.1.3(4)**

**DEFAULT *U*-FACTORS FOR SKYLIGHTS**

|  |  |
| --- | --- |
|  | **Frame Type** |
| **Fenestration Type** | **Aluminum****Without Thermal Break** | **Aluminum****With Thermal Break** | **Reinforced** **Vinyl/ Aluminum-Clad Wood or Vinyl** | **Wood or Vinyl- Clad Wood/****Vinyl without****Reinforcing** |
| Single Glazing |  |  |  |  |
|  glass | U-1.58 | U-1.51 | U-1.40 | U-1.18 |
|  acrylic/polycarb | U-1.52 | U-1.45 | U-1.34 | U-1.11 |
| Double Glazing |  |  |  |  |
|  air | U-1.05 | U-0.89 | U-0.84 | U-0.67 |
|  argon | U-1.02 | U-0.86 | U-0.80 | U-0.64 |
| Double Glazing, *e*=0.20 |  |  |  |  |
|  air | U-0.96 | U-0.80 | U-0.75 | U-0.59 |
|  argon | U-0.91 | U-0.75 | U-0.70 | U-0.54 |
| Double Glazing, *e*=0.10 |  |  |  |  |
|  air | U-0.94 | U-0.79 | U-0.74 | U-0.58 |
|  argon | U-0.89 | U-0.73 | U-0.68 | U-0.52 |
| Double Glazing, *e*=0.05 |  |  |  |  |
|  air | U-0.93 | U-0.78 | U-0.73 | U-0.56 |
|  argon | U-0.87 | U-0.71 | U-0.66 | U-0.50 |
| Triple Glazing |  |  |  |  |
|  air | U-0.90 | U-0.70 | U-0.67 | U-0.51 |
|  argon | U-0.87 | U-0.69 | U-0.64 | U-0.48 |
| Triple Glazing, *e*=0.20 |  |  |  |  |
|  air | U-0.86 | U-0.68 | U-0.63 | U-0.47 |
|  argon | U-0.82 | U-0.63 | U-0.59 | U-0.43 |
| Triple Glazing, *e*=0.20 on 2 surfaces |  |  |  |  |
|  air | U-0.82 | U-0.64 | U-0.60 | U-0.44 |
|  argon | U-0.79 | U-0.60 | U-0.56 | U-0.40 |
| Triple Glazing, *e*=0.10 on 2 surfaces |  |  |  |  |
|  air | U-0.81 | U-0.62 | U-0.58 | U-0.42 |
|  argon | U-0.77 | U-0.58 | U-0.54 | U-0.38 |
| Quadruple Glazing, *e*=0.10 on 2 surfaces |  |  |  |  |
|  air | U-0.78 | U-0.59 | U-0.55 | U-0.39 |
|  argon | U-0.74 | U-0.56 | U-0.52 | U-0.36 |
|  krypton | U-0.70 | U-0.52 | U-0.48 | U-0.32 |
|  |  |  |  |  |

 Notes for Table R303.1.3(4)

1. U-factors are applicable to both glass and plastic, flat and domed units, all spacers and gaps.
2. Emissivities shall be less than or equal to the value specified.
3. Gap fill shall be assumed to be air unless there is a minimum of 90% argon or krypton.
4. Aluminum frame with thermal break is as defined in footnote 1 to Table R303.1.3(1).

**TABLE R303.1.3(5)**

**SMALL BUSINESS COMPLIANCE TABLE**

**DEFAULT *U*-FACTORS FOR VERTICAL FENESTRATION**

|  |  |
| --- | --- |
| **Vertical Fenestration Description** | **Frame Type** |
| **Any Frame** | **Aluminum Thermal Break2** | **Wood/Vinyl/ Fiberglass** |
| **Panes** | **Low-e1** | **Spacer** | **Fill** |
| Double3 | A | Any | Argon | 0.48 | 0.41 | 0.32 |
| B | Any | Argon | 0.46 | 0.39 | 0.30 |
| C | Any | Argon | 0.44 | 0.37 | 0.28 |
| C | High Performance | Argon | 0.42 | 0.35 | Deemed to comply5 |
| Triple4 | A | Any | Air | 0.50 | 0.44 | 0.26 |
| B | Any | Air | 0.45 | 0.39 | 0.22 |
| C | Any | Air | 0.41 | 0.34 | 0.20 |
| Any double low-e | Any | Air | 0.35 | 0.32 | 0.18 |

 1 Low-eA (emissivity) shall be 0.24 to 0.16.

 Low-eB (emissivity) shall be 0.15 to 0.08.

 Low-eC (emissivity) shall be 0.07 or less.

 2 Aluminum Thermal Break .= An aluminum thermal break framed window shall incorporate the following minimum design characteristics:

 a) The thermal conductivity of the thermal break material shall be not more than 3.6 Btu-in/h/ft2/°F;

 b) The thermal break material must produce a gap in the frame material of not less than 0.210 inches; and

 c) All metal framing members of the products exposed to interior and exterior air shall incorporate a thermal break meeting the criteria in a) and b) above.

 3 A minimum air space of 0.375 inches between panes of glass is required for double glazing.

 4 A minimum air space of 0.25 inches between panes of glass is required for triple glazing.

 5 Deemed to comply glazing shall not be used for performance compliance.

**CHAPTER 4 [RE]**

**RESIDENTIAL ENERGY EFFICIENCY**

**SECTION R401**

**GENERAL**

**R401.1 Scope.** This chapter applies to residential buildings.

**R401.2 Compliance.** Projects shall comply with one of the following:

1. Sections R401 through R404.
2. Section R405 and the provisions of Sections R401 through R404 labeled “mandatory.”
3. An energy rating Index (ERI) approach in Section R407.

In addition, one- and two-family dwellings and townhouses, as defined in Section 101.2 of the *International Residential Code*, shall comply with Section R406.

**R401.2.1 Reserved**

**R401.3 Certificate (Mandatory).** A permanent certificate shall be completed by the builder or registered design professional and posted ona wall in the space where the furnace is located, a utility room, or an approved location inside the building. Where located on an electrical panel, the certificate shall not cover or obstruct the visibility of the circuit directory label, service disconnect label or other required labels. The certificate shall list the predominant *R*-values of insulation installed in or on ceiling/roof, walls, foundation (slab, *below-grade wall*, and/or floor) and ducts outside conditioned spaces; *U*-factors for fenestration and the solar heat gain coefficient (SHGC) of fenestration, and the results from any required duct system and building envelope air leakage testing done on the building. Where there is more than one value for each component, the certificate shall list the value covering the largest area. The certificate shall list the types and efficiencies of heating, cooling and service water heating equipment. Where a gas-fired unvented room heater, electric furnace, or baseboard electric heater is installed in the residence, the certificate shall list "gas-fired unvented room heater," "electric furnace" or "baseboard electric heater," as appropriate. An efficiency shall not be *listed* for gas-fired unvented room heaters, electric furnaces or electric baseboard heaters.

**SECTION R402**

**BUILDING THERMAL ENVELOPE**

**R402.1 General (Prescriptive).** The *building thermal envelope* shall meet the requirements of Sections R402.1.1 through R402.1.5.

**Exception:** The following buildings, or portions thereof, separated from the remainder of the building by *building thermal envelope* assemblies complying with this code shall be exempt from the *building thermal envelope* provisions of this code.

1. Those with a peak design rate of energy usage less than 3.4 Btu/h ft2 (10.7 W/m2) or 1.0 watt/ft2 (10.7 W/m2) of floor area for space conditioning purposes.
2. Those that do not contain *conditioned space*.
3. Greenhouses isolated from any conditioned space and not intended for occupancy

**R402.1.1 Vapor retarder.** Wall assemblies in the *building thermal envelope* shall comply with the vapor retarder requirements of Section R702.7 of the *International Residential Code* or Section 1405.3 of the *International Building Code,* as applicable.

**R402.1.2 Insulation and fenestration criteria.** The *building thermal envelope* shall meet the requirements of Table R402.1.2 based on the climate zone specified in Chapter 3.

**R402.1.3 *R*-value computation.** Insulation material used in layers, such as framing cavity insulation or continuous insulation , shall be summed to compute the corresponding component *R*-value. The manufacturer's settled *R*-value shall be used for blown insulation. Computed *R*-values shall not include an *R*-value for other building materials or air films. Where insulated siding is used for the purpose of complying with the continuous insulation requirements of Table R402.1.2, the manufacturer’s labeled R-value shall be reduced by R-0.6.

**R402.1.4 *U*-factor alternative.** An assembly with a *U*-factor equal to or less than that specified in Table R402.1.4 shall be permitted as an alternative to the *R*-value in Table R402.1.2.

**R402.1.5 Total UA alternative.** If the total *building thermal envelope* UA (sum of *U*-factor times assembly area) is less than or equal to the total UA resulting from using the *U*-factors in Table R402.1.4 (multiplied by the same assembly area as in the proposed building), the building shall be considered in compliance with Table R402.1.2. The *U*-factors for typical construction assemblies are included in Appendix A in chapter 51-11C WAC. These values shall be used for all calculations. Where proposed construction assemblies are not represented in Appendix A, values shall be calculated in accordance with the ASHRAE *Handbook of Fundamentals* using the framing factors listed in Appendix A where applicable and shall include the thermal bridging effects of framing materials. The SHGC requirements shall be met in addition to UA compliance. When using REScheck, the *U*-factors calculated by the software based on component *R*-value descriptions are acceptable. For the base building UA calculation, the maximum glazing area is 15% of the floor area.

**TABLE R402.1.2**

**INSULATION AND FENESTRATION REQUIREMENTS BY COMPONENTa**

|  |  |  |
| --- | --- | --- |
| **Climate Zone** | **5 and Marine 4** |  |
| **Fenestration U-factorb** | 0.30 |  |
| **Skylightb U-factor** | 0.50 |  |
| **Glazed Fenestration SHGCb, e** | NR |  |
| **Ceiling R-Valuek** | 49 |  |
| **Wood Frame Wallg, m,n R-Value** | 21 int |  |
| **Mass Wall R-Valuei** | 21/21 |  |
| **Floor R-Value** | 30g |  |
| **Below-Gradec,m Wall R-value** | 10/15/21 int + TB |  |
| **Slabd R-Value & Depth** | 10, 2 ft |  |

For SI: 1 foot = 304.8 mm, ci.= continuous insulation, int = intermediate framing.

 a *R*-values are minimums. *U*-factors and SHGC are maximums. When insulation is installed in a cavity which is less than the label or design thickness of the insulation, the compressed *R*-value of the insulation from Appendix Table A101.4 shall not be less than the *R*-value specified in the table.

 b The fenestration *U*-factor column excludes skylights. The SHGC column applies to all glazed fenestration.

 c "10/15/21+TB" means R-10 continuous insulation on the exterior of the wall, or R-15 on the continuous insulation on the interior of the wall, or R-21 cavity insulation plus a thermal break between the slab and the basement wall at the interior of the basement wall. "10/15/21+TB" shall be permitted to be met with R-13 cavity insulation on the interior of the basement wall plus R-5 continuous insulation on the interior or exterior of the wall. "10/13" means R-10 continuous insulation on the interior or exterior of the home or R-13 cavity insulation at the interior of the basement wall. "TB" means thermal break between floor slab and basement wall.

 d R-10 continuous insulation is required under heated slab on grade floors. See R402.2.10.1.

 e There are no SHGC requirements in the Marine Zone.

 f Reserved.

 g Reserved.

 h.Reserved.

 i The second *R*-value applies when more than half the insulation is on the interior of the mass wall.

 j. Reserved

 k For single rafter- or joist-vaulted ceilings, the insulation may be reduced to R-38.

 l. Reserved.

 m Int. (intermediate framing) denotes standard framing 16 inches on center with headers insulated with a minimum of R-10 insulation.

 n Log and solid timber walls with a minimum average thickness of 3.5 inches are exempt from this insulation requirement.

**TABLE R402.1.4**

**EQUIVALENT U-FACTORSa**

|  |  |  |
| --- | --- | --- |
| **Climate Zone** | **5 and Marine 4** |  |
| **Fenestration U-factor** | 0.30 |  |
| **Skylight U-factor** | 0.50 |  |
| **Ceiling U-factor** | 0.026 |  |
| **Wood Frame WallU-factor** | 0.056 ~~(0.060~~) |  |
| **Mass Wall U-factor** | 0.056 |  |
| **Floor U-factor** | 0.029 |  |
| **Below-Grade Wall U-factor** | 0.042 |  |

 a Nonfenestration *U*-factors shall be obtained from measurement, calculation or an approved source or as specified in Section R402.1.3.

 b Reserved.

 c Reserved.

**R402.2 Specific insulation requirements (Prescriptive).** In addition to the requirements of Section R402.1, insulation shall meet the specific requirements of Sections R402.2.1 through R402.2.13.

**R402.2.1 Ceilings with attic spaces.** Where Section R402.1.2 would require R-49 in the ceiling, installing R-38 over 100 percent of the ceiling area requiring insulation shall be deemed to satisfy the requirement for R-49 wherever the full height of uncompressed R-38 insulation extends over the wall top plate at the eaves. This reduction shall not apply to the *U*-factor alternative approach in Section R402.1.4 and the total UA alternative in Section R402.1.5.

**R402.2.1.1 Loose insulation in attic spaces.** Open-blown or poured loose fill insulation may be used in attic spaces where the slope of the ceiling is not more than 3 feet in 12 and there is at least 30 inches of clear distance from the top of the bottom chord of the truss or ceiling joist to the underside of the sheathing at the roof ridge.

**R402.2.2 Reserved.**

**R402.2.3 Eave baffle.** For air permeable insulations in vented attics, a baffle shall be installed adjacent to soffit and eave vents. Baffles shall maintain an opening equal or greater than the size of the vent. The baffle shall extend over the top of the attic insulation. The baffle shall be permitted to be any solid material.

**R402.2.4 Access hatches and doors.** Access doors from conditioned spaces to unconditioned spaces (e.g., attics and crawl spaces) shall be weatherstripped and insulated to a level equivalent to the insulation on the surrounding surfaces. Access shall be provided to all equipment that prevents damaging or compressing the insulation. A wood framed or equivalent baffle or retainer is required to be provided when loose fill insulation is installed, the purpose of which is to prevent the loose fill insulation from spilling into the living space when the attic access is opened, and to provide a permanent means of maintaining the installed *R*-value of the loose fill insulation.

**Exception:** Vertical doors that provide access from conditioned to unconditioned spaces shall be permitted to meet the fenestration requirements of Table R402.1.2 based on the applicable climate zone specified in Chapter 3.

**R402.2.5 Mass walls.** Mass walls for the purposes of this chapter shall be considered above-grade walls of concrete block, concrete, insulated concrete form (ICF), masonry cavity, brick (other than brick veneer), earth (adobe, compressed earth block, rammed earth) and solid timber/logs, or any other walls having a heat capacity greater than or equal to 6 Btu/ft2 x °F (123 kJ/m2 x K).

**R402.2.6 Steel-frame ceilings, walls, and floors.** Steel-frame ceilings, walls, and floors shall meet the *U*-factor requirements of Table R402.1.4.

**R402.2.7 Reserved. ~~Walls with partial structural sheathing.~~** ~~Where Section R402.1.2 would require continuous insulation on exterior walls and structural sheathing covers 40 percent or less of the gross area of all exterior walls, the continuous insulation~~ *~~R~~*~~-value shall be permitted to be reduced by an amount necessary to result in a consistent total sheathing thickness, but not more than R-3, on areas of the walls covered by structural sheathing, This reduction shall not apply to the~~ *~~U-~~*~~factor alternative approach in Section R402.1.4 and the total UA alternative in Section R402.1.5.~~

**R402.2.8 Floors.** Floor framing cavity insulation shall be installed to maintain permanent contact with the underside of the subfloor decking. Insulation supports shall be installed so spacing is no more than 24-inches on center. Foundation vents shall be placed so that the top of the vent is below the lower surface of the floor insulation.

**Exceptions:**

1. The floor framing cavity insulation shall be permitted to be in contact with the topside of sheathing or continuous insulation installed on the bottom side of floor framing where combined with insulation that meets or exceeds the minimum Wood Frame Wall R-value in Table R402.1.2 and extends from the bottom to the top of all perimeter floor framing members.
2. When foundation vents are not placed so that the top of the vent is below the lower surface of the floor insulation, a permanently attached baffle shall be installed at an angle of 30° from horizontal, to divert air flow below the lower surface of the floor insulation.
3. Substantial contact with the surface being insulated is not required in enclosed floor/ceiling assemblies containing ducts where full R-value insulation is installed between the duct and the exterior surface.

**R402.2.9 Below-grade walls.** Below-grade exterior wall insulation used on the exterior (cold) side of the wall shall extend from the top of the below-grade wall to the top of the footing and shall be approved for below-grade use. Above-grade insulation shall be protected. Insulation used on the interior (warm) side of the wall shall extend from the top of the below-grade wall to the below-grade floor level and shall include R-5 rigid board providing a thermal break between the concrete wall and the slab.

**R402.2.10 Slab-on-grade floors.** The minimum thermal resistance (*R*-value) of the insulation around the perimeter of unheated or heated slab-on-grade floors shall be as specified in Table R402.1.2. The insulation shall be placed on the outside of the foundation or on the inside of the foundation wall. The insulation shall extend downward from the top of the slab for a minimum distance as shown in the table or to the top of the footing, whichever is less, or downward to at least the bottom of the slab and then horizontally to the interior or exterior for the total distance shown in the table. A two-inch by two-inch (maximum) pressure treated nailer may be placed at the finished floor elevation for attachment of interior finish materials. Insulation extending away from the building shall be protected by pavement or by a minimum of 10 inches (254 mm) of soil.

**R402.2.10.1 Heated slab-on-grade floors (Mandatory).** The entire area of a heated slab-on-grade floor shall be thermally isolated from the soil with a minimum of R-10 insulation. The insulation shall be an approved product for its intended use. If a soil gas control system is present below the heated slab-on-grade floor, which results in increased convective flow below the heated slab-on-grade floor, the heated slab-on-grade floor shall be thermally isolated from the sub-slab gravel layer. R-10 heated slab-on-grade floor insulation is required for all compliance paths.

**R402.2.11 Reserved.**

**R402.2.12 Masonry veneer.** Insulation shall not be required on the horizontal portion of the foundation that supports a masonry veneer.

**R402.2.13 Reserved**.

**R402.3 Fenestration (Prescriptive).** In addition to the requirements of Section R402, fenestration shall comply with Sections R402.3.1 through R402.3.6.

**R402.3.1 *U*-factor.** An area-weighted average of fenestration products shall be permitted to satisfy the *U*-factor requirements.

**R402.3.2 Glazed fenestration SHGC.** An area-weighted average of fenestration products more than 50 percent glazed shall be permitted to satisfy the SHGC requirements.

~~Dynamic glazing shall be permitted to satisfy the SHGC requirements of Table R402.1.2 provided the ratio of the higher to lower labeled SHGC is greater than or equal to 2.4, and the dynamic glazing is automatically controlled to modulate the amount of solar gain into the space in multiple steps. Dynamic glazing shall be considered separately from other fenestration, and area-weighted averaging with other fenestration that is not dynamic glazing shall not be permitted.~~

**~~Exception:~~** ~~Dynamic glazing is not required to comply with this section when both the lower and higher labeled SHGC already comply with the requirements of Table R402.1.2~~.

**R402.3.3 Glazed fenestration exemption.** Up to 15 square feet (1.4 m2) of glazed fenestration per dwelling unit shall be permitted to be exempt from *U*-factor and SHGC requirements in Section R402.1.2. This exemption shall not apply to the *U*-factor alternative approach in Section R402.1.4 and the total UA alternative in Section R402.1.5.

**R402.3.4 Opaque door exemption.** One side-hinged opaque door assembly up to 24 square feet (2.22 m2) in area is exempted from the *U*-factor requirement in Section R402.1.2. This exemption shall not apply to the *U*-factor alternative approach in Section R402.1.4 and the total UA alternative in Section R402.1.5.

**R402.3.5 Reserved.**

**R402.4 Air leakage (Mandatory).** The building thermal envelope shall be constructed to limit air leakage in accordance with the requirements of Sections R402.4.1 through R402.4.4.

**R402.4.1 Building thermal envelope.** The *building thermal envelope* shall comply with Sections R402.4.1.1 and R402.4.1.2. The sealing methods between dissimilar materials shall allow for differential expansion and contraction.

**R402.4.1.1 Installation.** The components of the *building thermal envelope* as listed in Table R402.4.1.1 shall be installed in accordance with the manufacturer's instructions and the criteria listed in Table R402.4.1.1, as applicable to the method of construction. Where required by the *code official*, an *approved* third party shall inspect all components and verify compliance.

**R402.4.1.2 Testing.** The building or dwelling unit shall be tested and verified as having an air leakage rate not exceeding 5 air changes per hour. Testing shall be conducted in accordance with ASTM E779 or ASTM E1827 and reported at a pressure of 0.2 inches w.g. (50 Pascals). Where required by the *code official*, testing shall be conducted by an *approved* third party. A written report of the results of the test shall be signed by the party conducting the test and provided to the *code official*. Testing shall be performed at any time after creation of all penetrations of the *building thermal envelope*. Once visual inspection has confirmed sealing (see Table R402.4.1.1), operable windows and doors manufactured by *small business* shall be permitted to be sealed off at the frame prior to the test.

 During testing:

1. Exterior windows and doors, fireplace and stove doors shall be closed, but not sealed, beyond the intended weatherstripping or other infiltration control measures;
2. Dampers including exhaust, intake, makeup air, backdraft and flue dampers shall be closed, but not sealed beyond intended infiltration control measures;
3. Interior doors, if installed at the time of the test, shall be open, access hatches to conditioned crawl spaces and conditioned attics shall be open;
4. Exterior openings for continuous ventilation systems and heat recovery ventilators shall be closed and sealed;
5. Heating and cooling systems, if installed at the time of the test, shall be turned off; and
6. Supply and return registers, if installed at the time of the test, shall be fully open.

**R402.4.2 Fireplaces.** New wood-burning fireplaces shall have tight-fitting flue dampers or doors, and outdoor combustion air. When using tight-fitting doors on factory-built fireplaces listed and labeled in accordance with UL 127, the doors shall be tested and listed for the fireplace. Where using tight-fitting doors on masonry fireplaces, the doors shall be listed and labeled in accordance with UL 907.

**R402.4.3 Air leakage of fenestration.** Windows, skylights and sliding glass doors shall have an air infiltration rate of no more than 0.3 cfm per square foot (1.5 L/s/m2), and swinging doors no more than 0.5 cfm per square foot (2.6 L/s/m2), when tested according to NFRC 400 or AAMA/WDMA/CSA 101/I.S.2/A440 by an accredited, independent laboratory and *listed* and *labeled* by the manufacturer.

**Exceptions**:

1. Field-fabricated fenestration products (windows, skylights and doors).
2. Custom exterior fenestration products manufactured by a small business provided they meet the applicable provisions of Chapter 24 of the *International Building Code*. Once visual inspection has confirmed the presence of a gasket, operable windows and doors manufactured by *small business* shall be permitted to be sealed off at the frame prior to the test.

**R402.4.4 Combustion air openings**. In Climate Zones 3 through 8, where open combustion air ducts provide combustion air to open combustion, space conditioning fuel burning appliances, the appliances and combustion air openings shall be located outside of the building thermal envelope, or enclosed in a room isolated from inside the thermal envelope. Such rooms shall be sealed and insulated in accordance with the envelope requirements of Table R402.1.2, where the walls, floors and ceilings shall meet the minimum of the below- grade wall R-value requirement. The door into the room shall be fully gasketed and any water lines and ducts in the room insulated in accordance with Section R403. The combustion air duct shall be insulated where it passes through conditioned space to a minimum of R-8.

**Exceptions:**

1. Direct vent appliances with both intake and exhaust pipes installed continuous to the outside.
2. Fireplaces and stoves complying with Section R402.4.2 and Section R1006 of the *International Residential Code*.

**R402.4.5 Recessed lighting.** Recessed luminaires installed in the *building thermal envelope* shall be Type IC-rated and certified under ASTM E283 as having an air leakage rate not more than 2.0 cfm (0.944 L/s) when tested at a 1.57 psf (75 Pa) pressure differential and shall have a label attached showing compliance with this test method. All recessed luminaires shall be sealed with a gasket or caulk between the housing and the interior wall or ceiling covering.

**R402.5 Maximum fenestration *U*-factor (Mandatory).** The area-weighted average maximum fenestration *U*-factor permitted using tradeoffs from Section R402.1.5 or R405 shall be 0.48 for vertical fenestration, and 0.75 for skylights.

**TABLE R402.4.1.1**

**AIR BARRIER AND INSULATION INSTALLATION**

|  |  |
| --- | --- |
|  |  |
|  |  |
|  |  |
|   |  |
|  |   |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

|  |  |  |
| --- | --- | --- |
| **COMPONENT** | **AIR BARRIER CRITERIAa** | **INSULATION CRITERIAa** |
| General Requirements | A continuous air barrier shall be installed in the building envelope. Exterior thermal envelope contains a continuous air barrier. Breaks or joints in the air barrier shall be sealed. | Air-permeable insulation shall not be used as a sealing material. |
| Cavity insulation installation |  | All cavities in the thermal envelope shall be filled with insulation. The density of the insulation shall be at the manufacturers' product recommendation and said density shall be maintained for all volume of each cavity. Batt type insulation will show no voids or gaps and maintain an even density for the entire cavity. Batt insulation shall be installed in the recommended cavity depth. Where an obstruction in the cavity due to services, blocking, bracing or other obstruction exists, the batt product will be cut to fit the remaining depth of the cavity. Where the batt is cut around obstructions, loose fill insulation shall be placed to fill any surface or concealed voids, and at the manufacturers’ specified density. Where faced batt is used, the installation tabs must be stapled to the face of the stud. There shall be no compression to the batt at the edges of the cavity due to inset stapling installation tabs.Insulation that upon installation readily conforms to available space shall be installed filling the entire cavity and within the manufacturers' density recommendation. |
| Ceiling/attic | The air barrier in any dropped ceiling/soffit shall be aligned with the insulation and any gaps in the air barrier sealed. Access openings, drop down stair or knee wall doors to unconditioned attic spaces shall be sealed. | The insulation in any dropped ceiling/soffit shall be aligned with the air barrierBatt insulation installed in attic roof assemblies may be compressed at exterior wall lines to allow for required attic ventilation. |
| Walls | The junction of the foundation and sill plate shall be sealed. The junction of the top plate and top of exterior walls shall be sealed. Knee walls shall be sealed. | Cavities within corners and headers of frame walls shall be insulated by completely filling the cavity with a material having a thermal resistance of R-3 per inch minimum. Exterior thermal envelope insulation for framed walls shall be installed in substantial contact and continuous alignment with the air barrier.  |
| Windows, skylights and doors | The space between window/door jambs and framing and skylights and framing shall be sealed. |  |
| Rim Joists | Rim joists shall include the air barrier. | Rim joists shall be insulated. |
| Floors (including above garage and cantilevered floors) | The air barrier shall be installed at any exposed edge of insulation. | Floor framing cavity insulation shall be installed to maintain permanent contact with the underside of subfloor decking or floor framing cavity insulation shall be permitted to be in contact with the topside of sheathing or continuous insulation installed on the underside of floor framing and extend from the bottom to the top of all perimeter floor framing members.  |
| Crawl space walls | Exposed earth in unvented crawl spaces shall be covered with a Class I, black vapor retarder with overlapping joints taped. | Where provided instead of floor insulation, insulation shall be permanently attached to the crawlspace walls. |
| Shafts, penetrations | Duct shafts, utility penetrations, and flue shafts opening to exterior or unconditioned space shall be sealed. |  |
| Narrow cavities |  | Batts in narrow cavities shall be cut to fit and installed to the correct density without any voids or gaps or compression, or narrow cavities shall be filled by insulation that on installation readily conforms to the available cavity space. |
| Garage separation | Air sealing shall be provided between the garage and conditioned spaces. |  |
| Recessed lighting | Recessed light fixtures installed in the building thermal envelope shall be sealed to the drywall. | Recessed light fixtures installed in the building thermal envelope shall be air tight and IC rated. |
| Plumbing and wiring |  | Batt insulation shall be cut neatly to fit around wiring and plumbing in exterior walls. There shall be no voids or gaps or compression where cut to fit. Insulation that on installation readily conforms to available space shall extend behind piping and wiring. |
| Shower/tub on exterior wall | The air barrier installed at exterior walls adjacent to showers and tubs shall separate them from the showers and tubs. | Exterior walls adjacent to showers and tubs shall be insulated. |
| Electrical/phone box on exterior wall | The air barrier shall be installed behind electrical or communication boxes or air sealed boxes shall be installed. |  |
| HVAC register boots | HVAC register boots that penetrate building thermal envelope shall be sealed to the subfloor or drywall. |  |
| Concealed sprinklers | When required to be sealed, concealed fire sprinklers shall only be sealed in a manner that is recommended by the manufacturer. Caulking or other adhesive sealants shall not be used to fill voids between fire sprinkler cover plates and walls or ceilings. |  |

1. In addition, inspection of log walls shall be in accordance with the provisions of ICC-400.

**SECTION R403**

**SYSTEMS**

**R403.1 Controls (Mandatory).** At least one thermostat shall be provided for each separate heating and cooling system.

**R403.1.1 Programmable thermostat.** Where the primary heating system is a forced-air furnace, at least one thermostat per ~~The thermostat controlling the primary heating or cooling system of the~~ dwelling unit shall be capable of controlling the heating and cooling system on a daily schedule to maintain different temperature set points at different times of the day. The thermostat shall allow for, at a minimum, a 5-2 programmable schedule (weekdays/weekends) and be capable of providing at least two programmable setback periods per day. This thermostat shall include the capability to set back or temporarily operate the system to maintain *zone* temperatures down to 55°F (13°C) or up to 85°F (29°C). The thermostat shall initially be programmed by the manufacturer with a heating temperature set point no higher than 70°F (21°C) and a cooling temperature set point no lower than 78°F (26°C). The thermostat and/or control system shall have an adjustable deadband of not less than 10°F.

**Exceptions:**

1. Systems controlled by an occupant sensor that is capable of shutting the system off when no occupant is sensed for a period of up to 30 minutes.
2. Systems controlled solely by a manually operated timer capable of operating the system for no more than two hours.

**R403.1.2 Heat pump supplementary heat (Mandatory).** Unitary air cooled heat pumps shall include controls that minimize supplemental heat usage during start-up, set-up, and defrost conditions. These controls shall anticipate need for heat and use compression heating as the first stage of heat. Controls shall indicate when supplemental heating is being used through visual means (e.g., LED indicators). Heat pumps equipped with supplementary heaters shall be installed with controls that prevent supplemental heater operation above 40°F. At final inspection the auxiliary heat lock out control shall be set to 35°F or less.

**R403.2 Hot water boiler outdoor temperature setback.** Hot water boilers that supply heat to the building through one- or two-pipe heating systems shall have an outdoor temperature setback control that lowers the boiler water temperature based on the outdoor temperature.

**R403.3 Ducts.** Ducts and air handlers shall be in accordance with Sections R403.3.1 through R403.3.5.

**R403.3.1 Insulation (Prescriptive).** Ducts shall be insulated to a minimum of R-8. ((~~Supply and return ducts in attics shall be insulated to a minimum or R-8 where 3-inch diameter and greater and R-6 where less than 3 inch diameter. Supply and return ducts located in other portions of the building shall be insulated to a minimum of R-6 where 3-inch diameter and greater and R-4.2 where less than 3-inch diameter~~.))

**Exception**: Ducts or portions thereof located completely inside the *building thermal envelope*. Ducts located in crawl spaces do not qualify for this exception.

**R403.3.2 Sealing (Mandatory).** Ducts, air handlers, and filter boxes shall be sealed. Joints and seams shall comply with either the *International Mechanical Code* or *International Residential Code*, as applicable.

**Exceptions:**

1. Air-impermeable spray foam products shall be permitted to be applied without additional joint seals.
2. For ducts having a static pressure classification of less than 2 inches of water column (500 Pa), additional closure systems shall not be required for continuously welded joints and seams, and locking-type joints and seams of other than the snap-lock and button-lock types.

**R403.3.2.1 Sealed air handler.** Air handlers shall have a manufacturer's designation for an air leakage of no more than 2 percent of the design air flow rate when tested in accordance with ASHRAE 193.

**R403.3.3 Duct testing (Mandatory).** Ducts shall be leak tested in accordance with WSU RS-33, using the maximum duct leakage rates specified.:

**Exception:** The total leakage test is not required for ducts and air handlers located entirely within the building thermal envelope. Ducts located in crawl spaces do not qualify for this exception.

A written report of the results shall be signed by the party conducting the test and provided to the code official.

**R403.3.4 Duct leakage (Mandatory).** The total leakage of the ducts, where measured in accordance with Section R403.3.3, shall be as follows:

1. Postconstruction test: Leakage to outdoors shall be less than or equal to 4 cfm (113.3 L/min) per 100 square feet (9.29 m2) of conditioned floor area or Total leakage shall be less than or equal to 4 cfm (113.3 L/min) per 100 square feet (9.29 m2) of conditioned floor area when tested at a pressure differential of 0.1 inches w.g. (25 Pa) across the entire system, including the manufacturer's air handler enclosure. All register boots shall be taped or otherwise sealed during the test

**R403.3.5 Building cavities (Mandatory).** Building framing cavities shall not be used as ducts or plenums. Installation of ducts in exterior walls, floors or ceilings shall not displace required envelope insulation.

**R403.4 Mechanical system piping insulation (Mandatory).** Mechanical system piping capable of carrying fluids above 105°F (41°C) or below 55°F (13°C) shall be insulated to a minimum of R-6.

**R403.4.1 Protection of piping insulation.** Piping insulation exposed to weather shall be protected from damage, including that caused by sunlight, moisture, equipment maintenance, and wind, and shall provide shielding from solar radiation that can cause degradation of the material. Adhesive tape shall not be permitted.

**R403.5 Service hot water systems.** Energy conservation measures for service hot water systems shall be in accordance with Sections R403.5.1 through R403.5.5.

**R403.5.1 Heated water circulation and temperature maintenance system (Mandatory).**Heated water circulation systems shall be in accordance with Section R403.5.1.1. Heat trace temperature maintenance systems shall be in accordance with Section R403.5.1.2. Automatic controls, temperature sensors and pumps shall be *accessible*. Manual controls shall be *readily accessible*.

**R403.5.1.1 Circulation systems.** Heated water circulation systems shall be provided with a circulation pump. The system return pipe shall be a dedicated return pipe or a cold water supply pipe. Gravity and thermo-syphon circulation systems shall be prohibited. Controls for circulating hot water system pumps shall start the pump based on the identification of a demand for hot water within the occupancy. The controls shall automatically turn off the pump when the water in the circulation loop is at the desired temperature and when there is no demand for hot water.

**R403.5.1.2 Heat trace systems**. Electric heat trace systems shall comply with IEEE 515.1 or UL 515. Controls for such systems shall automatically adjust the energy input to the heat tracing to maintain the desired water temperature in the piping in accordance with the times when heated water is used in the occupancy.

**R403.5.2 Demand recirculation systems.** A water distribution system having one or more recirculation pumps that pump water from a heated water supply pipe back to the heated water source through a cold water supply pipe shall be a *demand recirculation water system.* Pumps shall have controls that comply with both of the following:

1. The control shall start the pump upon receiving a signal from the action of a user of a fixture or appliance, sensing the presence of a user of a fixture or sensing the flow of hot or tempered water to a fixture fitting or appliance.
2. The control shall limit the temperature of the water entering the cold water piping to 104ºF (40 ºC).

**R403.5.3 Hot water pipe insulation (Prescriptive).** Insulation for hot water pipe shall have a minimum thermal resistance (*R*-value) of R-3.

**~~R403.5.3 Hot water pipe insulation (Prescriptive~~**~~)~~**~~.~~** ~~Insulation for hot water pipe with a minimum thermal resistance (~~*~~R~~*~~-value) of R-3.shall be applied to the following:~~

1. ~~Piping 3/4 inch and larger in nominal diameter.~~
2. ~~Piping serving more than one dwelling unit.~~
3. ~~Piping located outside the conditioned space.~~
4. ~~Piping from the water heater to a distribution manifold.~~
5. ~~Piping located under a floor slab.~~
6. ~~Buried piping.~~
7. ~~Supply and return piping in recirculation systems other than demand recirculation systems.~~

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
|  |  |  |  |  |

**R403.5.4 Drain water heat recovery units.** Drain water heat recovery units shall comply with CSA 55.2. Drain water heat recovery units shall be in accordance with CSA 55.1. Potable water-side pressure loss of drain water heat recovery units shall be less than 3 psi (20.7 kPa) for individual units connected to one or two showers. Potable water-side pressure loss of drain water heat recovery units shall be less than 2 psi (13.8 kPa) for individual units connected to three or more showers.

**R403.5.5 Electric water heater insulation.** All electric water heaters in unheated spaces or on concrete floors shall be placed on an incompressible, insulated surface with a minimum thermal resistance of R-10.

**R403.6 Mechanical ventilation (Mandatory).** The building shall be provided with ventilation that meets the requirements of the *International Residential Code* or *International Mechanical Code*, as applicable, or with other approved means of ventilation. Outdoor air intakes and exhausts shall have automatic or gravity dampers that close when the ventilation system is not operating.

**R403.6.1 Whole-house mechanical ventilation system fan efficacy.** Mechanical ventilation system fans shall meet the efficacy requirements of Table R403.6.1.

**Exception**: Where mechanical ventilation fans are integral to tested and listed HVAC equipment, they shall be powered by an electronically commutated motor.

**TABLE R403.6.1**

**MECHANICAL VENTILATION SYSTEM FAN EFFICACY**

|  |  |  |  |
| --- | --- | --- | --- |
| **FAN LOCATION** | **AIR FLOW RATE MINIMUM (CFM)** | **MINIMUM EFFICACY (CFM/WATT)** | **AIR FLOW RATE MAXIMUM (CFM)** |
| Range hoods | Any | 2.8 cfm/watt | Any |
| In-line fan | Any | 2.8 cfm/watt | Any |
| Bathroom, utility room | 10 | 1.4 cfm/watt | < 90 |
| Bathroom, utility room | 90 | 2.8 cfm/watt | Any |

**R403.7 Equipment sizing and efficiency rating (Mandatory).** Heating and cooling equipment shall be sized in accordance with ACCA Manual S based on building loads calculated in accordance with ACCA Manual J or other *approved* heating and cooling calculation methodologies. New or replacement heating and cooling equipment shall have an efficiency rating equal to or greater than the minimum required by federal law for the geographic location where the equipment is installed.

**R403.8 Systems serving multiple dwelling units (Mandatory).** Systems serving multiple dwelling units shall comply with Sections C403 and C404 of the WSEC‑-Commercial Provisions in lieu of Section R403.

**R403.9 Snow melt system controls (Mandatory).** Snow and ice-melting systems, supplied through energy service to the building, shall include automatic controls capable of shutting off the system when the pavement temperature is above 50°F, and no precipitation is falling and an automatic or manual control that will allow shutoff when the outdoor temperature is above 40°F.

**R403.10 Pool and permanent spa energy consumption (Mandatory).** The energy consumption ofpools and permanent spas shall comply with Sections R403.10.1 through R403.10.4.2.

**R403.10.1 Heaters.** The electric power to heaters shall be controlled by a *readily accessible* on-off switch that is an integral part of the heater mounted on the exterior of the heater, or external to and within 3 feet (914 mm) of the heater. Operation of such switch shall not change the settings of the heater thermostat. Such switches shall be in addition to a circuit breaker for the power to the heater. Gas-fired heaters shall not be equipped with constant burning pilot lights.

**R403.10.2 Time switches.** Time switches or other control method that can automatically turn off and on according to a preset schedule shall be installed for heaters and pump motors. Heaters and pump motors that have built in time switches shall be deemed in compliance with this requirement.

**Exceptions**:

1. Where public health standards require 24-hour pump operation.
2. Pumps that operate solar- and waste-heat-recovery pool heating systems.

**R403.10.3 Covers.** Outdoor heated pools and outdoor permanent spas shall be provided with a vapor-retardant cover, or other *approved* vapor-retardant means.

**Exception**: Where more than 70 percent of the energy for heating, computed over an operating season, is from site-recovered energy, such as from a heat pump or solar energy source, covers or other vapor-retardant means shall not be required.

**R403.10.4 Residential pool pumps.** Pool pump motors may not be split-phase or capacitor start-induction run type.

**R403.10.4.1 Two-speed capability.**

1. Pump motors: Pool pump motors with a capacity of 1 hp or more shall have the capability of operating at two or more speeds with low speed having a rotation rate that is no more than one-half of the motor's maximum rotation rate.
2. Pump controls: Pool pump motor controls shall have the capability of operating the pool pump with at least two speeds. The default circulation speed shall be the lowest speed, with a high speed override capability being for a temporary period not to exceed one normal cycle.

**R403.10.4.2 Pump operation.** Circulating water systems shall be controlled so that the circulation pump(s) can be conveniently turned off, automatically or manually, when the water system is not in operation.

**SECTION R404**

**ELECTRICAL POWER AND
LIGHTING SYSTEMS**

**R404.1 Lighting equipment (Mandatory).** Not less than 75 percent of permanently installed lamps in lighting fixtures shall be high-efficacy lamps.

**R404.1.1 Lighting equipment (Mandatory).** Fuel gas lighting systems shall not have continuously burning pilot lights.

**SECTION R405**

**SIMULATED PERFORMANCE ALTERNATIVE (PERFORMANCE)**

**R405.1 Scope.** This section establishes criteria for compliance using simulated energy performance analysis. Such analysis shall include heating, cooling, and service water heating energy only.

**R405.2 Mandatory requirements.** Compliance with this section requires that the mandatory provisions identified in Section R401.2 be met. All supply and return ducts not completely inside the *building thermal envelope* shall be insulated to a minimum of R-8.

**R405.3 Performance-based compliance.** Compliance based on simulated energy performance requires that a proposed residence (*proposed design*) be shown to have an annual energy consumption based on site energy expressed in Btu and Btu per square foot of *conditioned floor area* as follows:

1. For structures less than 1,500 square feet of conditioned floor area, the annual energy consumption shall be less than or equal to 97 percent of the annual energy consumption of the *standard reference design*.
2. For structures 1,500 to 5,000 square feet of conditioned floor area, the annual energy consumption shall be no more than 89 percent of the *standard reference design*.
3. For structures over 5,000 square feet of conditioned floor area, the annual energy consumption shall be no more than 83 percent of the *standard reference design*.

**R405.4 Documentation.** Documentation of the software used for the performance design and the parameters for the building shall be in accordance with Sections R405.4.1 through R405.4.3.

**R405.4.1 Compliance software tools.** Documentation verifying that the methods and accuracy of the compliance software tools conform to the provisions of this section shall be provided to the *code official*.

**R405.4.2 Compliance report.** Compliance software tools shall generate a report that documents that the *proposed design* complies with Section R405.3. A compliance report on the *proposed design* shall be submitted with the application for the building permit. Upon completion of the building, a compliance report based upon the as-built condition of the building shall be submitted to the *code official* before a certificate of occupancy is issued. Batch sampling of buildings to determine energy code compliance for all buildings in the batch shall be prohibited.

   Compliance reports shall include information in accordance with Sections R405.4.2.1 and R405.4.2.2. Where the *proposed design* of a building could be built on different sites where the cardinal orientation of the building on each site is different, compliance of the *proposed design* for the purposes of the application for the building permit shall be based upon the worst case orientation, worst case configuration, worst-case building air leakage and worst-case duct leakage. Such worst-case parameters shall be used as inputs to the compliance software for energy analysis.

**R405.4.2.1 Compliance report for permit application.** A compliance report submitted with the application for building permit shall include all of the following:

1. Building street address, or other building site identification.
2. A statement indicating that the *proposed design* complies with Section R405.3.
3. An inspection checklist documenting the building component characteristics of the *proposed design* as indicated in Table R405.5.2(1). The inspection checklist shall show results for both the *standard reference design* and the *proposed design* with all user inputs to the compliance software to generate the results.
4. A site-specific energy analysis report that is in compliance with Section R405.3
5. Name of the individual performing the analysis and generating the report.
6. Name and version of the compliance software tool.

**R405.4.2.2 Compliance report for certificate of occupancy.** A compliance report submitted for obtaining the certificate of occupancy shall include all of the following:

1. Building street address, or other building site identification
2. A statement indicating that the as-built building complies with Section R405.3.
3. A certificate indicating that the building passes the performance matrix for code compliance and the energy saving features of the buildings.
4. A site-specific energy analysis report that is in compliance with Section R405.3.
5. Name of the individual performing the analysis and generating the report.
6. Name and version of the compliance software tool.

**R405.4.3 Additional documentation.** The *code official* shall be permitted to require the following documents:

1. Documentation of the building component characteristics of the *standard reference design*.
2. A certification signed by the builder providing the building component characteristics of the *proposed design* as given in Table R405.5.2(1).
3. Documentation of the actual values used in the software calculations for the *proposed design*.

**R405.5 Calculation procedure.** Calculations of the performance design shall be in accordance with Sections R405.5.1 and R405.5.2.

**R405.5.1 General.** Except as specified by this section, the *standard reference design* and *proposed design* shall be configured and analyzed using identical methods and techniques.

**R405.5.2 Residence specifications.** The *standard reference design* and *proposed design* shall be configured and analyzed as specified by Table R405.5.2(1). Table R405.5.2(1) shall include by reference all notes contained in Table R402.1.1.

**TABLE R405.5.2(1)**

**SPECIFICATIONS FOR THE STANDARD REFERENCE AND PROPOSED DESIGNS**

|  |  |  |
| --- | --- | --- |
| **BUILDING COMPONENT** | **STANDARD REFERENCE DESIGN** | **PROPOSED DESIGN** |
| Above-grade walls | Type: Mass wall if proposed wall is mass; otherwise wood frame. Gross area: Same as proposed *U*-factor: From Table R402.1.4 Solar absorptance = 0.75 Remittance = 0.90 | As proposed As proposed As proposed As proposed As proposed |
| Below-grade walls | Type: Same as proposed Gross area: Same as proposed *U*-factor: From Table R402.1.4, with insulation layer on interior side of walls. | As proposed As proposed As proposed |
| Above-grade floors | Type: Wood frameGross area: Same as proposed*U*-factor: From Table R402.1.4 | As proposed As proposed As proposed |
| Ceilings | Type: Wood frameGross area: Same as proposed*U*-factor: From Table R402.1.4 | As proposed As proposed As proposed |
| Roofs | Type: Composition shingle on wood sheathingGross area: Same as proposedSolar absorptance = 0.75Emittance = 0.90 | As proposed As proposed As proposed As proposed |
| Attics | Type: Vented with aperture = 1 ft2 per 300 ft2 ceiling area  | As proposed |
| Foundations | Type: Same as proposed foundation wall area above and below-gradeSoil characteristics: Same as proposed. | As proposedAs proposed |
| Opaque Doors | Area: 40 ft2Orientation: North*U*-factor: Same as fenestration from Table R402.1.4. | As proposed As proposed As proposed |
| Vertical Fenestration other than Opaque Doors | Total area = (a) The proposed glazing area; where proposed glazing area is less than 15% of the conditioned floor area. (b) 15% of the conditioned floor area; where the proposed glazing area is 15% or more of the conditioned floor area. | As proposed |
|  | Orientation: Equally distributed to four cardinal compass orientations (N, E, S & W). | As proposed |
|  | *U*-factor: From Table R402.1.4  | As proposed |
|  | SHGC: From Table R402.1.1 except that for climates with no requirement (NR) SHGC = 0.40 shall be used.  | As proposed  |
|  | Interior shade fraction: 0.92 - (0.21 × SHGC for the standard reference design)External shading: None | 0.92 - (0.21 × SHGC as proposed)As proposed |
| Skylights | None | As proposed |
| Air exchange rate | Air leakage rate of 5 air changes per hour at a pressure of 0.2 inches w.g. (50 Pa). The mechanical ventilation rate shall be in addition to the air leakage rate and the same as in the proposed design, but no greater than 0.01 × *CFA* +7.5 × (*Nbr* +  1)where:*CFA*  =  conditioned floor area*N*br = number of bedroomsEnergy recovery shall not be assumed for mechanical ventilation. | For residences that are not tested, the same air leakage rate as the standard reference design. For tested residences, the measured air exchange ratea.The mechanical ventilation rateb shall be in addition to the air leakage rate and shall be as proposed. |
| Mechanical ventilation | None, except where mechanical ventilation is specified by the proposed design, in which case:Annual vent fan energy use:kWh/yr  =  0.03942 × *CFA* + 29.565 × (*Nbr* + 1)where:*CFA*  =  conditioned floor area*N*br   =  number of bedrooms | As proposed |
| Internal gains | IGain  =  17,900 + 23.8 × *CFA* + 4104 × *Nbr* (Btu/day per dwelling unit) | Same as standard reference design |
| Internal mass | An internal mass for furniture and contents of 8 pounds per square foot of floor area. | Same as standard reference design, plus any additional mass specifically designed as a thermal storage elemente but not integral to the building envelope or structure. |
| Structural mass | For masonry floor slabs, 80% of floor area covered by R-2 carpet and pad, and 20% of floor directly exposed to room air. | As proposed |
|  | For masonry basement walls, as proposed, but with insulation required by Table R402.1.4 located on the interior side of the walls. | As proposed |
|  | For other walls, for ceilings, floors, and interior walls, wood frame construction. | As proposed |
| Heating systemsd,e | Where the proposed design utilizes electric heating without a heat pump the standard reference design shall be an air source heat pump meeting the requirements of Section C403 of the WSEC—Commercial Provisions.For all other systems, the same system type as proposed, and the same system efficiency required by prevailing minimum federal standard.Capacity: Sized in accordance with Section R403.6 | As proposed |
| Cooling systemsd,f | Same system type as proposed. Same system efficiency as required by prevailing minimum federal standard.Capacity: Sized in accordance with Section R403.6. | As proposed |
| Service water heatingd,e,f,g | Same system type as proposed. Same system efficiency as required by prevailing minimum federal standard.Use: Same as proposed design | As proposedgal/day = 30 + (10 × *Nbr*) |
| Thermal distribution systems | Duct insulation: From Section R403.3.3A thermal distribution system efficiency (DSE) of 0.88 shall be applied to both the heating and cooling system efficiencies for all systems other than tested duct systems. For tested duct systems, the leakage rate shall be 4 cfm (113.3 L/min) per 100 ft2 (9.29 m2) of conditioned floor area at a pressure differential of 0.1 inches w.g. (25 Pa). | As tested or as specified in Table R405.5.2(2) if not tested. Duct insulation shall be as proposed. |
| Thermostat | Type: Manual, cooling temperature setpoint = 75°F;Heating temperature setpoint = 72°F | Same as standard reference |

For SI: 1 square foot = 0.93 m2, 1 British thermal unit = 1055 J, 1 pound per square foot = 4.88 kg/m2, 1 gallon (U.S.) = 3.785 L, °C = (°F-3)/1.8, 1 degree = 0.79 rad

* 1. Where required by the *code official*, testing shall be conducted by an *approved* party. Hourly calculations as specified in the ASHRAE *Handbook of Fundamentals*, or the equivalent, shall be used to determine the energy loads resulting from infiltration.
	2. The combined air exchange rate for infiltration and mechanical ventilation shall be determined in accordance with Equation 43 of 2001 ASHRAE *Handbook of Fundamentals*, page 26.24 and the "Whole-house Ventilation" provisions of 2001 ASHRAE *Handbook of Fundamentals*, page 26.19 for intermittent mechanical ventilation.
	3. Thermal storage element shall mean a component not part of the floors, walls or ceilings that is part of a passive solar system, and that provides thermal storage such as enclosed water columns, rock beds, or phase-change containers. A thermal storage element must be in the same room as fenestration that faces within 15 degrees (0.26 rad) of true south, or must be connected to such a room with pipes or ducts that allow the element to be actively charged.
	4. For a proposed design with multiple heating, cooling or water heating systems using different fuel types, the applicable standard reference design system capacities and fuel types shall be weighted in accordance with their respective loads as calculated by accepted engineering practice for each equipment and fuel type present.
	5. For a proposed design without a proposed heating system, a heating system with the prevailing federal minimum efficiency shall be assumed for both the standard reference design and proposed design.
	6. For a proposed design home without a proposed cooling system, an electric air conditioner with the prevailing federal minimum efficiency shall be assumed for both the standard reference design and the proposed design.
	7. For a proposed design with a nonstorage-type water heater, a 40-gallon storage-type water heater with the prevailing federal minimum energy factor for the same fuel as the predominant heating fuel type shall be assumed. For the case of a proposed design without a proposed water heater, a 40-gallon storage-type water heater with the prevailing federal minimum efficiency for the same fuel as the predominant heating fuel type shall be assumed for both the proposed design and standard reference design.

**TABLE R405.5.2(2)**

**DEFAULT DISTRIBUTION SYSTEM EFFICIENCIES FOR PROPOSED DESIGNSa**

|  |  |  |
| --- | --- | --- |
| **DISTRIBUTION SYSTEM CONFIGURATION AND CONDITION** | **FORCED AIR SYSTEMS** | **HYDRONIC SYSTEMSb** |
| Distribution system components located in unconditioned space  | - | 0.95 |
| Untested distribution systems entirely located in conditioned spacec  | 0.88 | 1 |
| "Ductless” systemsd  | 1 | - |

 For SI: 1 cubic foot per minute .= 0.47 L/s, 1 square foot .= 0.093m2, 1 pound per square inch .= 6895 Pa, 1 inch water gauge .= 1250 Pa.

1. Default values given by this table are for untested distribution systems, which must still meet minimum requirements for duct system insulation.
2. Hydronic systems shall mean those systems that distribute heating and cooling energy directly to individual spaces using liquids pumped through closed-loop piping and that do not depend on ducted, forced airflow to maintain space temperatures.
3. Entire system in conditioned space shall mean that no component of the distribution system, including the air-handler unit, is located outside of the conditioned space.
4. Ductless systems shall be allowed to have forced airflow across a coil but shall not have any ducted airflow external to the manufacturer's air-handler enclosure.

**R405.6 Calculation software tools.** Calculation software, where used, shall be in accordance with Sections R405.6.1 through R405.6.3.

**R405.6.1 Minimum capabilities.** Calculation procedures used to comply with this section shall be software tools capable of calculating the annual energy consumption of all building elements that differ between the *standard reference design* and the *proposed design* and shall include the following capabilities:

1. Calculation of whole-building (as a single *zone*) sizing for the heating and cooling equipment in the *standard reference design* residence in accordance with Section R403.6.
2. Calculations that account for the effects of indoor and outdoor temperatures and part-load ratios on the performance of heating, ventilating and air-conditioning equipment based on climate and equipment sizing.
3. Printed *code official* inspection checklist listing each of the *proposed design* component characteristics from Table R405.5.2(1) determined by the analysis to provide compliance, along with their respective performance ratings (e.g., *R*-value, *U*-factor, SHGC, HSPF, AFUE, SEER, EF, etc.).

**R405.6.2 Specific approval.** Performance analysis tools meeting the applicable sections of Section R405 shall be permitted to be *approved*. Tools are permitted to be *approved* based on meeting a specified threshold for a jurisdiction. The *code official* shall be permitted to approve tools for a specified application or limited scope.

**R405.6.3 Input values.** When calculations require input values not specified by Sections R402, R403, R404 and R405, those input values shall be taken from an approved source.

**SECTION R406**

**ADDITIONAL ENERGY EFFICIENCY REQUIREMENTS**

**R406.1 Scope.** This section establishes options for additional criteria to be met for one- and two-family dwellings and townhouses, as defined in Section R101.2 of the *International Residential Code* to demonstrate compliance with this code.

**R406.2 Additional energy efficiency requirements (Mandatory).** Each dwelling unit in one- and two-family dwellings and townhouses, as defined in Section 101.2 of the *International Residential Code* shall comply with sufficient options from Table R406.2 so as to achieve the following minimum number of credits:

1. Small Dwelling Unit: 0.5 points
 Dwelling units less than 1500 square feet in conditioned floor area with less than 300 square feet of fenestration area. Additions to existing building that are less than 750 square feet of heated floor area.
2. Medium Dwelling Unit: 1.5 points
 All dwelling units that are not included in #1 or #3.
3. Large Dwelling Unit: 2.5 points
 Dwelling units exceeding 5000 square feet of conditioned floor area.

 The drawings included with the building permit application shall identify which options have been selected and the point value of each option, regardless of whether separate mechanical, plumbing, electrical, or other permits are utilized for the project.

**TABLE 406.2**

**ENERGY CREDITS**

|  |  |  |
| --- | --- | --- |
| **OPTION** | **DESCRIPTION** | **CREDIT(S)** |
| 1a | EFFICIENT BUILDING ENVELOPE 1a:Prescriptive compliance is based on Table R402.1.2 with the following modifications: Fenestration U .= 0.28Floor R-38Slab on grade R-10 perimeter and under entire slabBelow grade slab R-10 perimeter and under entire slab**or**Compliance based on Section R402.1.4: Reduce the Total UA by 5%. | 0.5 |
| 1b | EFFICIENT BUILDING ENVELOPE 1b:Prescriptive compliance is based on Table R402.1.2 with the following modifications: Fenestration U .= 0.25 Wall R-21 plus R-4 Floor R-38 Basement wall R-21 int plus R-5 ciSlab on grade R-10 perimeter and under entire slabBelow grade slab R-10 perimeter and under entire slab**or**Compliance based on Section R402.1.4: Reduce the Total UA by 15%. | 1.0 |
| 1c | EFFICIENT BUILDING ENVELOPE 1c:Prescriptive compliance is based on Table R402.1.2 with the following modifications: Fenestration U .= 0.22Ceiling and single-rafter or joist-vaulted R-49 advancedWood frame wall R-21 int plus R-12 ciFloor R-38Basement wall R-21 int plus R-12 ciSlab on grade R-10 perimeter and under entire slabBelow grade slab R-10 perimeter and under entire slab**or**Compliance based on Section R402.1.4: Reduce the Total UA by 30%. | 2.0 |
| 2a | AIR LEAKAGE CONTROL AND EFFICIENT VENTILATION 2a:Compliance based on R402.4.1.2: Reduce the tested air leakage to 4.0 air changes per hour maximum**and**All whole house ventilation requirements as determined by Section M1507.3 of the *International Residential Code* shall be met with a high efficiency fan (maximum 0.35 watts/cfm), not interlocked with the furnace fan. Ventilation systems using a furnace including an ECM motor are allowed, provided that they are controlled to operate at low speed in ventilation only mode.To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the maximum tested building air leakage and shall show the qualified ventilation system. | 0.5 |
| 2b | AIR LEAKAGE CONTROL AND EFFICIENT VENTILATION 2b:Compliance based on Section R402.4.1.2: Reduce the tested air leakage to 2.0 air changes per hour maximum**and**All whole house ventilation requirements as determined by Section M1507.3 of the *International Residential Code* shall be met with a heat recovery ventilation system with minimum sensible heat recovery efficiency of 0.70.To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the maximum tested building air leakage and shall show the heat recovery ventilation system. | 1.0 |
| 2c | AIR LEAKAGE CONTROL AND EFFICIENT VENTILATION 2c:Compliance based on Section R402.4.1.2: Reduce the tested air leakage to 1.5 air changes per hour maximum**and**All whole house ventilation requirements as determined by Section M1507.3 of the *International Residential Code* shall be met with a heat recovery ventilation system with minimum sensible heat recovery efficiency of 0.85.To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the maximum tested building air leakage and shall show the heat recovery ventilation system. | 1.5 |
| 3a | HIGH EFFICIENCY HVAC EQUIPMENT 3a:Gas, propane or oil-fired furnace with minimum AFUE of 95%, orgas, propane or oil-fired boiler with minimum AFUE of 92%To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the heating equipment type and the minimum equipment efficiency. | 0.5 |
| 3b | HIGH EFFICIENCY HVAC EQUIPMENT 3b:Air-source heat pump with minimum HSPF of 8.5To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the heating equipment type and the minimum equipment efficiency. | 1.0 |
| 3c | HIGH EFFICIENCY HVAC EQUIPMENT 3c:Closed-loop ground source heat pump; with a minimum COP of 3.3**or**Open loop water source heat pump with a maximum pumping hydraulic head of 150 feet and minimum COP of 3.6To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the heating equipment type and the minimum equipment efficiency. | 2.0 |
| 3d | HIGH EFFICIENCY HVAC EQUIPMENT 3d:DUCTLESS SPLIT SYSTEM HEAT PUMPS, ZONAL CONTROL:In homes where the primary space heating system is zonal electric heating, a ductless heat pump system shall be installed and provide heating to at least one zone of the housing unit.To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the heating equipment type and the minimum equipment efficiency. | 1.0 |
| 4 | HIGH EFFICIENCY HVAC DISTRIBUTION SYSTEM:aAll heating and cooling system components installed inside the conditioned space. All combustion equipment shall be direct vent or sealed combustion.Locating system components in conditioned crawl spaces is not permitted under this option.Electric resistance heat is not permitted under this option.Direct combustion heating equipment with AFUE less than 80% is not permitted under this option.To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the heating equipment type and shall show the location of the heating and cooling equipment and all the ductwork. | 1.0 |
| 5a | EFFICIENT WATER HEATING 5a:Water heating system shall include one of the following:Gas, propane or oil water heater with a minimum EF of 0.62**or**Electric water heater with a minimum EF of 0.93.**and for both cases**All showerhead and kitchen sink faucets installed in the house shall be rated at 1.75 GPM or less. All other lavatory faucets shall be rated at 1.0 GPM or less.bTo qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the water heater equipment type and the minimum equipment efficiency and shall specify the maximum flow rates for all showerheads, kitchen sink faucets, and other lavatory faucets. | 0.5 |
| 5b | EFFICIENT WATER HEATING 5b:Water heating system shall include one of the following:Gas, propane or oil water heater with a minimum EF of 0.82**or**Solar water heating supplementing a minimum standard water heater. Solar water heating will provide a rated minimum savings of 85 therms or 2000 kWh based on the Solar Rating and Certification Corporation (SRCC) Annual Performance of OG-300 Certified Solar Water Heating Systems**or**Electric heat pump water heater with a minimum EF of 2.0 and meeting the standards of NEEA's Northern Climate Specifications for Heat Pump Water Heaters**or**Water heater heated by ground source heat pump meeting the requirements of Option 3c.To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall specify the water heater equipment type and the minimum equipment efficiency and, for solar water heating systems, the calculation of the minimum energy savings. | 1.5 |
| 6 | RENEWABLE ELECTRIC ENERGY:For each 1200 kWh of electrical generation provided annually by on-site wind or solar equipment a 0.5 credit shall be allowed, up to 3 credits. Generation shall be calculated as follows:For solar electric systems, the design shall be demonstrated to meet this requirement using the National Renewable Energy Laboratory calculator PVWATTs. Documentation noting solar access shall be included on the plans.For wind generation projects designs shall document annual power generation based on the following factors:The wind turbine power curve; average annual wind speed at the site; frequency distribution of the wind speed at the site and height of the tower.To qualify to claim this credit, the building permit drawings shall specify the option being selected and shall show the photovoltaic or wind turbine equipment type, provide documentation of solar and wind access, and include a calculation of the minimum annual energy power production. | 0.5 |

1. **Interior Duct Placement.** Ducts included as Option 4 of Table R406.2 shall be placed wholly within the heated envelope of the housing unit. The placement shall be inspected and certified to receive the credits associated with this option.

**Exception:** Ducts complying with this section may have up to 5% of the total linear feet of ducts located in the exterior cavities or buffer spaces of the dwelling. If this exception is used the ducts will be tested to the following standards:

Post-construction test: Leakage to outdoors shall be less than or equal to 1 CFM per 100 ft2 of conditioned floor area when tested at a pressure differential of 0.1 inches w.g. (25 Pa) across the entire system, including the manufacturer's air handler enclosure. All register boots shall be taped or otherwise sealed during the test.

1. **Plumbing Fixtures Flow Ratings.** Low flow plumbing fixtures (water closets and urinals) and fittings (faucets and showerheads) shall comply with the following requirements:
	* 1. Residential bathroom lavatory sink faucets: Maximum flow rate - 3.8 L/min (1.0 gal/min) when tested in accordance with ASME A112.18.1/CSA B125.1.
		2. Residential kitchen faucets: Maximum flow rate - 6.6 L/min (1.75 gal/min) when tested in accordance with ASME A112.18.1/CSA B125.1.
		3. Residential showerheads: Maximum flow rate - 6.6 L/min (1.75 gal/min) when tested in accordance with ASME A112.18.1/CSA B125.1.

**SECTION R407**

**ENERGY RATING INDEX COMPLIANCE ALTERNATIVE**

**R407.1 Scope.** This section establishes criteria for compliance using an Energy Rating Index (ERI) analysis.

**R407.2 Mandatory requirements.** Compliance with this section requires that the mandatory provisions identified in Section R401 through R404 labeled as “Mandatory” and Section R403.5.3 be met. The building thermal envelope shall be greater than or equal to levels of efficiency and Solar Heat Gain Coefficient in Table 402.1.1 or 402.1.3 of the 2009 *International Energy Conservation Code.*

**Exception:** Supply and return ducts not completely inside the building thermal envelope shall be insulated to a minimum of R-6.

**R407.3 Energy Rating Index.** The Energy Rating Index (ERI) shall be a numerical integer value that is based on a linear scale constructed such that the *ERI reference design* has an Index value of 100 and a *residential building* that uses no net purchased energy has an Index value of 0. Each integer value on the scale shall represent a one percent (1%) change in the total energy use of the rated designrelative to the total energy use of the *ERI reference design*. The ERI shall consider all energy used in the *residential building*.

**R407.3.1 ERI reference design.** The *ERI reference design* shall be configured such that is it meets the minimum requirements of the 2006 *International Energy Conservation Code* prescriptive requirements.

The proposed *residential building* shall be shown to have an annual total normalized modified loads that are less than or equal to the annual total loads of the *ERI reference design.*

**R407.4 ERI based compliance.** Compliance based on an ERI analysis requires that the *rated design* be shown to have an ERI less than or equal to the appropriate value listed in Table R407.4, when compared to the *ERI reference design*.

**TABLE R407.4**

**MAXIMUM ENERGY RATING INDEX**

|  |  |
| --- | --- |
| **Climate Zone** | **Energy Rating Index** |
| 4 | 54 |
| 5 | 55 |

**R407.5 Verification by approved agency.** Verification of compliance with Section R407 shall be completed by an *approved* third party.

**R407.6 Documentation.** Documentation of the software used to determine the energy rating index and the parameters for the residential building shall be in accordance with Sections R407.6.1 through R407.6.3.

**R407.6.1 Compliance software tools.** Documentation verifying that the methods and accuracy of the compliance software tools conform to the provisions of this section shall be provided to the *code official.*

**R407.6.2 Compliance report.** Compliance software tools shall generate a report that documents that the energy rating index of the *rated design* complies with Sections R407.3 and R407.4. The compliance documentation shall include the following information:

1. Address or other identification of the residential building.
2. An inspection checklist documenting the building component characteristics of the *rated design*. The inspection checklist shall show results for both the *ERI reference design* and the *rated design,* and shall document all inputs entered by the user necessary to reproduce the results.
3. Name of individual completing the compliance report.
4. Name and version of the compliance software tool.

**Exception:** Multiple orientations. When an otherwise identical building model is offered in multiple orientations, compliance for any orientation shall be permitted by documenting that the building meets the performance requirements in each of the four cardinal (north, east, south and west) orientations.

**R407.6.3 Additional documentation.** The *code official* shall be permitted to require the following documents:

1. Documentation of the building component characteristics of the *ERI reference design.*
2. A certification signed by the builder providing the building component characteristics of the *rated design.*
3. Documentation of the actual values used in the software calculations for the *rated design.*

**R407.7 Calculation software tools.** Calculation software, where used, shall be in accordance with Sections R407.7.1through R407.7.3.

**R407.7.1 Minimum capabilities.** Calculation procedures used to comply with this section shall be software tools capable of calculating the energy rating index as described in Section R407.3, and shall include the following capabilities:

1. Computer generation of the *ERI reference design* using only the input for the *rated design.* The calculation procedure shall not allow the user to directly modify the building component characteristics of the *ERI reference design.*
2. Calculation of whole-building, as a single *zone,* sizing for the heating and cooling equipment in the *ERI reference design* residence in accordance with Section R403.7*.*
3. Calculations that account for the effects of indoor and outdoor temperatures and part-load ratios on the performance of heating, ventilating and air-conditioning equipment based on climate and equipment sizing.
4. Printed *code official* inspection checklist listing each of the *rated design* component characteristics determined by the analysis to provide compliance, along with their respective performance ratings.

**R407.7.2 Specific approval.** Performance analysis tools meeting the applicable sections of Section R407 shall be *approved.* Tools are permitted to be *approved* based on meeting a specified threshold for a jurisdiction. The *code official* shall approve tools for a specified application or limited scope.

**R407.7.3 Input values.** When calculations require input values not specified by Sections R402, R403, R404 and R405, those input values shall be taken from an *approved* source.

**CHAPTER 5**

**EXISTING BUILDINGS**

**SECTION R501**

**GENERAL**

**R501.1 Scope.** The provisions of this chapter shall control the *alteration*, *repair*, *addition* and change of occupancy of existing buildings and structures.

**R501.1.1 Additions, alterations, or repairs**. Additions, alterations, or repairs to an existing building, building system or portion thereof shall comply with Sections R502, R503 or R504. Unaltered portions of the existing building or building supply system shall not be required to comply with this code.

**R501.2 Existing buildings.** Except as specified in this chapter, this code shall not be used to require the removal, *alteration* or abandonment of, nor prevent the continued use and maintenance of, an existing building or building system lawfully in existence at the time of adoption of this code.

**R501.3 Maintenance.** Buildings and structures, and parts thereof, shall be maintained in a safe and sanitary condition. Devices and systems that are required by this code shall be maintained in conformance with the code edition under which installed. The owner or the owner’s authorized agent shall be responsible for the maintenance of buildings and structures. The requirements of this chapter shall not provide the basis for removal or abrogation of energy conservation, fire protection and safety systems and devices in existing structures.

**R501.4 Compliance.** *Alterations*, *repairs*, *additions* and changes of occupancy to, or relocation of, existing buildings and structures shall comply with the provisions for *alterations*, *repairs*, *additions* and changes of occupancy or relocation, respectively, in the *International Residential Code, International Building Code, International Fire Code, International Fuel Gas Code, International Mechanical Code, Uniform Plumbing Code, International Property Maintenance Code,* and NFPA 70.

**R501.5 New and replacement materials.** Except as otherwise required or permitted by this code, materials permitted by the applicable code for new construction shall be used. Like materials shall be permitted for repairs, provided hazards to life, health or property are not created. Hazardous materials shall not be used where the code for new construction would not permit their use in buildings of similar occupancy, purpose and location.

**R501.6 Historic buildings.** *~~Historic buildings~~* ~~are exempt from this code. No provision of this code relating to the construction,~~ *~~repair~~*~~,~~ *~~alteration~~*~~, restoration and movement of structures, and~~ *~~change of occupancy~~* ~~shall be mandatory for~~ *~~historic buildings~~* ~~provided a report has been submitted to the code official and signed by the owner, a~~ *~~registered design professional~~*~~, or a representative of the State Historic Preservation Office or the historic preservation authority having jurisdiction, demonstrating that compliance with that provision would threaten, degrade or destroy the historic form, fabric or function of the~~ *~~building~~.*

**SECTION R502**

**ADDITIONS**

**R502.1 General.** Additions to an existing building, building system or portion thereof shall conform to the provisions of this code as those provisions relate to new construction without requiring the unaltered portion of the existing building or building system to comply with this code. Additions shall not create an unsafe or hazardous condition or overload existing building systems. An addition shall be deemed to comply with this code where the addition alone complies, where the existing building and addition comply with this code as a single building, or where the building with the addition uses no more energy than the existing building. Additions shall be in accordance with Section R502.1.1 or R502.1.2.

 An addition shall be deemed to comply with this code if the addition alone complies, if the existing building and addition comply as a single building, or if the building with the addition uses no more energy than the existing building.

**R502.1.1 Prescriptive compliance.** Additions shall comply with Sections R502.1.1.1 through R502.1.1.4.

**R502.1.1.1 Building envelope**. New building envelope assemblies that are part of the addition shall comply with Sections R402.1, R402.2, R402.3.1 through R402.3.5, and R402.4.

**Exception:** Where nonconditioned space is changed to conditioned space the building envelope of the addition shall comply where the UA, as determined in Section R402.1.4, of the existing building and the addition, and any alterations that are part of the project, is less than or equal to UA generated for the existing building.

**R502.1.1.2 Heating and cooling systems.** New heating, cooling and duct systems that are part of the addition shall comply with Sections R403.1, R403.2, R403.3, R403.5 and R403.6.

**~~Exception:~~** ~~Where ducts from an existing heating and cooling system are extended to an addition, duct systems with less than 40 linear feet in unconditioned spaces shall not be required to be tested in accordance with Section R403.2.2.~~

**Exception:** The following need not comply with the testing requirements of Section R403.3.3:

1. Duct systems that are documented to have been previously sealed as confirmed through field verification and diagnostic testing in accordance with procedures in WSU RS-33.
2. Ducts with less than 40 linear feet in unconditioned spaces.
3. Existing duct systems constructed, insulated or sealed with asbestos.

**R502.1.1.3 Service hot water systems**. New service hot water systems that are part of the addition shall comply with Section R403.4.

**R502.1.1.4 Lighting.** New lighting systems that are part of the addition shall comply with Section 404.1.

**R502.1.2 Existing plus addition compliance (Simulated Performance Alternative).** Where nonconditioned space is changed to conditioned space the addition shall comply where the annual ~~energy cost or~~ energy use of the addition and the existing building, and any alterations that are part of the project, is less than or equal to the annual energy use of the existing building when modeled in accordance with Section R405. The addition and any alterations that are part of the project shall comply with Section R405 in its entirety.

**SECTION R503**

**ALTERATIONS**

**R503.1 General.** *Alterations* to any building or structure shall comply with the requirements of the code for new construction. *Alterations* shall be such that the existing building or structure is no less conforming with the provisions of this code than the existing building or structure was prior to the *alteration*.

  Alterations to an existing building, building system or portion thereof shall conform to the provisions of this code as they relate to new construction without requiring the unaltered portions of the existing building or building system to comply with this code. Alterations shall not create an unsafe or hazardous condition or overload existing building systems.

  *Alterations* shall be such that the existing building or structure uses no more energy than the existing building or structure prior to the *alteration*. Alterations to existing buildings shall comply with Section R503.1.1 through R503.2

The code official may approve designs of alterations which do not fully conform to all of the requirements of this code where in the opinion of the building official full compliance is physically impossible and/or economically impractical and:

1. The alteration improves the energy efficiency of the building; or
2. The alteration is energy efficient and is necessary for the health, safety, and welfare of the general public.

**R503.1.1 Building envelope.** Building envelope assemblies that are part of the alteration shall comply with Section R402.1.2 or R402.1.4, Sections R402.2.1 through R402.2.12, R402.3.1, R402.3.2, R402.4.3 and R402.4.4.

**Exception:** The following alterations need not comply with the requirements for new construction provided the energy use of the building is not increased:

1. Storm windows installed over existing fenestration.
2. Existing ceiling, wall or floor cavities exposed during construction provided that these cavities are filled with insulation. 2x4 framed walls shall be insulated to a minimum of R-15 and 2x6 framed walls shall be insulated to a minimum of R-21.
3. Construction where the existing roof, wall or floor cavity is not exposed.
4. Roof recover.
5. Roofs without insulation in the cavity and where the sheathing or insulation is exposed during reroofing shall be insulated either above or below the sheathing.
6. Surface-applied window film installed on existing single pane fenestration assemblies to reduce solar heat gain provided the code does not require the glazing fenestration to be replaced.

**R503.1.1.1 Replacement fenestration .** Where some or all of an existing fenestration unit is replaced with a new fenestration product, including sash and glazing, the replacement fenestration unit shall meet the applicable requirements for *U*-factor and SHGC in Table R402.1.2.

**R503.1.2 Heating and cooling systems.** New heating, cooling and duct systems that are part of the alteration shall comply with Sections R403.1, R403.2, R403.3 and R403.6.

**Exceptions:**

1. Where ducts from an existing heating and cooling system are extended, duct systems with less than 40 linear feet in unconditioned spaces shall not be required to be tested in accordance with Section R403.2.2.
2. Existing duct systems constructed, insulated or sealed with asbestos.

**R503.1.3 Service hot water systems**. New service hot water systems that are part of the alteration shall comply with Section R403.4.

**R503.1.4 Lighting.** New lighting systems that are part of the alteration shall comply with Section R404.1.

**Exception:** Alterations that replace less than 50 percent of the luminaires in a space, provided that such alterations do not increase the installed interior lighting power.

**R503.2 Change in space conditioning.** Any nonconditioned or low-energy space that is altered to become *conditioned space* shall be required to be brought into full compliance with this code.

**Exception:** Where the simulated performance option in Section R405 is used to comply with this section, the annual energy use of the proposed design is permitted to be 110 percent of the annual energy use otherwise allowed by Section R405.3.

**SECTION R504**

**REPAIRS**

**R504.1 General.** Buildings, structures and parts thereof shall be repaired in compliance with Section R501.3 and this section. Work on nondamaged components that is necessary for the required *repair* of damaged components shall be considered part of the *repair* and shall not be subject to the requirements for *alterations* in this chapter. Routine maintenance required by Section R501.3, ordinary repairs exempt from *permit*, and abatement of wear due to normal service conditions shall not be subject to the requirements for *repairs* in this section.

The code official may approve designs of repairs which do not fully conform with all of the requirements of this code where in the opinion of the building official full compliance is physically impossible and/or economically impractical and:

1. The repair improves the energy efficiency of the building; or
2. The repair is energy efficient and is necessary for the health, safety, and welfare of the general public.

**R504.2 Application.** For the purposes of this code, the following shall be considered repairs.

1. Glass only replacements in an existing sash and frame.
2. Roof repairs.
3. Repairs where only the bulb and/or ballast within the existing luminaires in a space are replaced provided that the replacement does not increase the installed interior lighting power.

**SECTION R505**

**CHANGE OF OCCUPANCY OR USE**

**R505.1 ~~R101.4.4~~ Change in occupancy or use.** Any space not within the scope of Section R101.2 which is converted to space that is within the scope of Section R101.2 shall be brought into full compliance with this code.

 Spaces undergoing a change in occupancy that would result in an increase in demand for either fossil fuel or electrical energy shall comply with this code.

**~~General.~~** ~~Spaces undergoing a change in occupancy that would result in an increase in demand for either fossil fuel or electrical energy shall comply with this code.~~

**~~R505.2 General.~~** Any space that is converted to a dwelling unit or portion thereof from another use or occupancy shall comply with this code.

**Exception:** Where the simulated performance option in Section R405 is used to comply with this section, the annual energy use of the proposed design is permitted to be 110 percent of the annual energy use otherwise allowed by Section R405.3.

**CHAPTER 6**

**REFERENCED STANDARDS**

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section R106.

|  |  |
| --- | --- |
| **AAMA** | American Architectural Manufacturers Association1827 Walden Office SquareSuite 550Schaumburg, IL 60173-4268 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| AAMA/WDMA/CSA |  |
| 101/I.S.2/A C440—11  | North American Fenestration Standard/ |
|  |  Specifications for Windows, Doors and Unit Skylights R402.4.3 |
|   |  |
|   |  |
| **ACCA** | Air Conditioning Contractors of America2800 Shirlington Road, Suite 300Arlington, VA 22206 |
| Standard  | Referenced |
| reference  | in code |
| number  | Title section number |
| Manual J—11  | Residential Load Calculation Eighth Edition R403.7 |
| Manual S—13  | Residential Equipment R403.7 |
|   |  |
|   |  |
| **APSP** | The Association of Pool and Spa Professionals2111 Eisenhower AvenueAlexandria, VA 22314 |
| Standard  | Referenced |
| reference  | in code |
| number  | Title section number |
| APSP 14-11  | American National Standard for Portable Electric Spa Energy Efficiency R403.10.1, R403.11 |
| APSP 15a-13  | American National Standard for Residential Swimming Pool    and Spa Energy Efficiency R403.12 |
|  |  |
| **ASHRAE** | American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc.1791 Tullie Circle, NEAtlanta, GA 30329-2305 |
| Standard  | Referenced |
| reference  | in code |
| number  | Title section number |
| ASHRAE—2013  | ASHRAE Handbook of Fundamentals R402.1.5, Table R405.5.2(1)  |
| ASHRAE 193—2010  | Method of Test for Determining the Airtightness of HVAC Equipment R403.3.2.1 |
|   |  |
|   |  |

|  |  |
| --- | --- |
| **ASTM** | ASTM International100 Barr Harbor DriveWest Conshohocken, PA 19428-2859 |
| Standard  | Referenced |
| reference  | in code |
| number  | Title section number |
| C1363-11 | Standard Test Method for Thermal Performance of Building Materials    and Envelope Assemblies by Means of a Hot Box Apparatus R303.1.4.1 |
| E 283—04  | Test Method for Determining the Rate of Air Leakage Through Exterior |
|  |  Windows, Curtain Walls and Doors Under Specified Pressure |
|  |  Differences Across the Specimen R402.4.4 |
| E779-10 | Standard Test Method for Determining Air Leakage Rate by Fan Pressurization R402.4.1.2 |
| E1827-11 | Standard Test Method for Determining Airtightness of Buildings     Using an Orifice Blower Door R402.4.1.2 |
|  |  |
| **CSA** | Canadian Standards Association5060 Spectrum WayMississauga, Ontario, Canada L4W 5N6 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| AAMA/WDMA/CSA |  |
| 101/I.S.2/A440—11 | North American Fenestration Standard/Specification for |
|  |  Windows, Doors and Unit Skylights R402.4.3 |
| CSA 55.1-2012 | Test method for measuring efficiency and pressure loss of drain water    heat recovery systems R403.5.4 |
| CSA 55.2-2012 | Drain Water Heat Recovery Units R403.5.4 |
|  |  |
|  |  |
| **ICC** | International Code Council, Inc.500 New Jersey Avenue, NW6th FloorWashington, DC 20001 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| IBC—15 | International Building Code R201.3, R303.2, R402.1.1, R501.4 |
| ICC 400—15 | Standard on the Design and Construction of Log Structures Table R402.5.1.1 |
| IECC-15 | International Energy Conservation Code R101.4.1, R403.8 |
| IECC-09 | 2009 International Energy Conservation Code R406.2 |
| IECC-06 | 2006 International Energy Conservation Code R202, R406.3.1 |
| IFC—15 | International Fire Code R201.3, R501.4 |
| IFGC—15 | International Fuel Gas Code .R201.3, R501.4 |
| IMC—15 | International Mechanical Code R201.3, R403.3.2, R403.6, R501.4 |
| IPMC-15 | International Property Maintenance Code R501.4 |
| IRC—15 | International Residential Code R201.3, R303.2, R402.2.10, R403.2.2, R403.5 |
|  |  |
|  |  |
| **IEEE** | The Institute of Electrical and Electronic Engineers, Inc.3 Park AvenueNew York, NY 10016-5997 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| 515.1-2012 | IEEE Standard for the testing, design, installation and maintenance of electrical resistance trace heating for commercial applications R403.5.1.2 |
|  |  |
|  |  |
| **NEEA** | Northwest Energy Efficiency Alliance421 SW 6th Ave, Suite 600Portland, OR 97204 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| NEEA-2011 | Northern Climate Specification for Heat Pump Water Heaters, Vers. 4.0 Table R406.2 |
|  |  |
| **NFRC** | National Fenestration Rating Council, Inc.6305 Ivy Lane, Suite 140Greenbelt, MD 20770 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| 100—2009 | Procedure for Determining Fenestration Products U-factors—Second Edition R303.1.3 |
| 200—2009 | Procedure for Determining Fenestration Product Solar Heat Gain Coefficients |
|  |  and Visible Transmittance at Normal Incidence—Second Edition R303.1.3 |
| 400—2009 | Procedure for Determining Fenestration Product Air Leakage—Second Edition R402.4.3 |
|  |  |
| **UL** | Underwriters Laboratory333 Pfingsten RoadNorthbrook, IL 60062 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| UL 127-11 | Factory built fireplace R402.4.2 |
| UL 515-11 | Electric resistance heat tracing for commercial and industrial applications R403.5.1.2 |
| UL 907-94 | Fireplace accessories (with revisions through April 2010) R402.4.2 |
|  |  |
|  |  |
| **US-FTC** | United States-Federal Trade Commission600 Pennsylvania Avenue NWWashington, DC 20580 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| CFR Title 16 | R-value Rule R303.1.4 |
| (May 31, 2005) |  |
|  |  |
|  |  |
| **WDMA** | Window and Door Manufacturers Association1400 East Touhy Avenue, Suite 470Des Plaines, IL 60018 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| AAMA/WDMA/CSA |  |
| 101/I.S.2/A440—11 | North American Fenestration Standard/Specification for |
|  |  Windows, Doors and Unit Skylights R402.4.3 |
|  |  |
|  |  |
| **WSU** | Washington State University Energy Extension Program905 Plum Street SE, Bldg 3PO Box 43165Olympia, WA 98506-3166 |
| Standard |  Referenced |
| reference | in code |
| number  | Title section number |
| WSU RS 33 | Duct Testing Standard for New and Existing Construction |
|  |  Publication No. WSUEEP12-016 R403.2.2 |

**APPENDIX RA**

**RECOMMENDED PROCEDURE FOR WORST-CASE TESTING OF ATMOSPHERIC VENTING SYSTEMS UNDER R402.4 OR R405 CONDITIONS ≤ 5ACH50**

*(This appendix is informative and is not part of the code.)*

**SECTION RA101**

**SCOPE**

**RA101.1 General.** This appendix is intended to provide guidelines for worst-case testing of atmospheric venting systems. Worst case testing is recommended to identify problems that weaken draft and restrict combustion air.

**SECTION RA201**

**GENERAL DEFINITIONS**

**combustion appliance zone (caz).** A contiguous air volume within a building that contains a containing a Category I or II atmospherically-vented appliance or a Category III or IV direct vent or integral vent appliance drawing combustion air from inside of the building or dwelling unit. The CAZ includes but is not limited to, a mechanical closet, mechanical room, or the main body of a house or dwelling unit.

**draft.** The pressure difference existing between the *appliance* or any component part and the atmosphere, that causes a continuous flow of air and products of *combustion* through the gas passages of the *appliance* to the atmosphere.

**mechanical or induced draft.** The pressure difference created by the action of a fan, blower or ejector that is located between the *appliance* and the *chimney* or vent termination.

**natural draft.** The pressure difference created by a vent or *chimney* because of its height and the temperature difference between the *flue gases* and the atmosphere.

**spillage.** Combustion gases emerging from an appliance or venting system into the combustion appliance zone during burner operation.

**SECTION RA301**

**TESTING Procedure**

**RA301.1 Worst-case testing of atmospheric venting systems.** Buildings or dwelling units containing a Category I or II atmospherically-vented appliance, or a Category III or IV direct-vent or integral vent appliance drawing combustion air from inside of the building or dwelling unit, shall have the Combustion Appliance Zone (CAZ) tested for spillage, acceptable draft and carbon monoxide (CO) in accordance with this Section. Where required by the *code official*, testing shall be conducted by an *approved* third party. A written report of the results of the test shall be signed by the party conducting the test and provided to the *code official*. Testing shall be performed at any time after creation of all penetrations of the *building thermal envelope* and prior to final inspection.

**Exception:** Buildings or dwelling units containing only Category III or IV direct vent or integral vent appliances that do not draw combustion air from inside of the building or dwelling unit.

   The enumerated test procedure as follows shall be complied with during testing:

1. Set combustion appliances to the pilot setting or turn off the service disconnects for combustion appliances. Close exterior doors and windows and the fireplace damper. With the building or dwelling unit in this configuration, measure and record the baseline ambient pressure inside the building or dwelling unit CAZ. Compare the baseline ambient pressure of the CAZ to that of the outside ambient pressure, and record the difference (Pa).
2. Establish worst case by turning on the *clothes dryer* and all exhaust fans. Close all interior doors that make the CAZ pressure more negative. Turn on the air handler, where present, and leave on if, as a result, the pressure in the CAZ becomes more negative. Check interior door positions again, closing only the interior doors that make the CAZ pressure more negative. Measure net change in pressure from the CAZ to outdoor ambient pressure, correcting for the base ambient pressure inside the home. Record “worst case depressurization” pressure and compare to Table RA301.1(1).
 Where CAZ depressurization limits are exceeded under worst-case conditions in accordance with Table RA301.1(1), additional combustion air shall be provided or other modifications to building air-leakage performance or exhaust appliances such that depressurization is brought within the limits prescribed in Table RA301.1(1).
3. Measure worst case spillage, acceptable draft, and carbon monoxide (CO) by firing the fuel-fired appliance with the smallest Btu capacity first.
	1. Test for spillage at the draft diverter with a mirror or smoke puffer. An appliance that continues to spill flue gases for more than 60 seconds fails the spillage test.
	2. Test for CO measuring undiluted flue gases, in the throat or flue of the appliance using a digital gauge in parts per million (ppm) at the 10 minute mark. Record CO ppm readings to be compared with Table RA301(3) upon completion of Step 4. Where the spillage test fails under worst case, go to Step 4.
	3. Where spillage ends within 60 seconds, test for acceptable draft in the connector no less than one foot (305 mm), but no more than two feet (610 mm) downstream of the draft diverter. Record draft pressure and compare to Table RA301.1(2).
	4. Fire all other connected appliances simultaneously and test again at the draft diverter of each appliance for spillage, CO and acceptable draft using procedures 3a through 3c.
4. Measure spillage, acceptable draft, and carbon monoxide (CO) under natural conditions—without *clothes dryer* and exhaust fans on—according to the procedure outlined in Step 3, measuring the net change in pressure from worst case condition in Step 3 to natural in the CAZ to confirm the worst case depressurization taken in Step 2. Repeat the process for each appliance, allowing each vent system to cool between tests.
5. Monitor indoor ambient CO in the breathing zone continuously during testing, and abort the test where indoor ambient CO exceeds 35 ppm by turning off the appliance, ventilating the space, and evacuating the building. The CO problem must be corrected prior to completing combustion safety diagnostics.
6. Make recommendations based on test results and the retrofit action prescribed in Table RA301.1(3).

**TABLE RA301.1(1)**

**CAZ DEPRESSURIZATION LIMITS**

|  |  |
| --- | --- |
| **VENTING CONDITION** | **LIMIT (Pa)** |
| Category I, atmospherically vented water heater  | -2.0 |
| Category I or II atmospherically vented boiler or furnace common-vented with a Category I atmospherically vented water heater  | -3.0 |
| Category I or II atmospherically vented boiler or furnace, equipped with a flue damper, and common-vented with a Category I atmospherically vented water heater  | -5.0 |
| Category I or II atmospherically vented boiler or furnace alone  |
| Category I or II atmospherically vented, fan-assisted boiler or furnace common vented with a Category I atmospherically vented water heater  |
| Decorative vented, gas appliance  |
| Power vented or induced-draft boiler or furnace alone, or fan assisted water heater alone  | -15.0 |
| Category IV direct-vented appliances and sealed combustion appliances  | -50.0 |

**TABLE RA301.1(2)**

**ACCEPTABLE DRAFT TEST CORRECTION**

|  |  |
| --- | --- |
| **OUTSIDE TEMPERATURE (°F)** | **MINIMUM DRAFT PRESSURE REQUIRED (Pa)** |
| < 10 | -2.5 |
| 10 - 90 | (Outside temp ÷ 40) – 2.75 |
| > 90 | -0.5 |

**TABLE RA301.1(3)**

**ACCEPTABLE DRAFT TEST CORRECTION**

|  |  |  |  |
| --- | --- | --- | --- |
| **CARBON MONOXIDE LEVEL (ppm)** | **AND/OR** | **SPILLAGE AND ACCEPTABLE DRAFT TEST RESULTS** | **RETROFIT ACTION** |
| 0 -25 | and | Passes | Proceed with work |
| 25 < x ≤ 100  | and | Passes | Recommend that CO problem be resolved |
| 25 < x ≤ 100  | and | Fails in worst case only | Recommend an appliance service call and repairs to resolve the problem |
| 100 < x ≤ 400  | or | Fails under natural conditions | **Stop!** Work shall not proceed until appliance is services and problem resolved |
| > 400  | and | Passes | **Stop!** Work shall not proceed until appliance is services and problem resolved |
| > 400  | and | Fails under any condition | **Emergency!** Shut off fuel to the appliance and call for service immediately |

**APPENDIX RB**

**SOLAR-READY PROVISIONS – DETACHED ONE-AND TWO-FAMILY DWELLINGS, MULTIPLE SINGLE FAMILY DWELLINGS (TOWNHOUSES)**

(The provisions contained in this appendix are not mandatory unless specifically referenced in the adopting ordinance.)

**SECTION RB101 SCOPE**

**RB101.1 General**. These provisions shall be applicable for new construction where solar-ready provisions are required.

**SECTION RB102**

**GENERAL DEFINITIONS**

**solar ready zone**. A section or sections of the roof or building overhang designated and reserved for the future installation of a solar photovoltaic or solar thermal system.

**RB103**

**SOLAR READY ZONE**

**RB103.1 General.** New detached one- and two-family dwellings, and multiple single-family dwellings (townhouses) with at least 600 square feet of roof area oriented between 110 degrees and 270 degrees of true north shall comply with sections RB103.2 through RB103.8.

**Exceptions:**

* 1. New residential buildings with a permanently installed on-site renewable energy system.
	2. A building with a *solar-ready zone* that is shaded for more than 70 percent of daylight hours annually.

**RB103.2 Construction document requirements for solar ready zone.** Construction documents shall indicate the *solar-ready zone*.

**RB 103.3 Solar ready zone area**. The total *solar-ready zone* area shall be not less than 300 square feet (27.87 m2) exclusive of mandatory access or set back areas as required by the *International Fire Code*. New multiple single family dwellings (townhouses) three stories or less in height above grade plane and with a total floor area less than or equal to 2000 square feet (185.8 m2) per dwelling shall have a *solar-ready zone* area of not less than 150 square feet (13.94 m2). The *solar-ready zone* shall be composed of areas not less than 5 feet (1524 mm) in width and not less than 80 square feet (7.44 m2) exclusive of access or set back areas as required by the *International Fire Code*.

**RB103.4 Obstructions**. *Solar ready zones* shall be free from obstructions, including but not limited to vents, chimneys, and roof mounted equipment.

**RB 103.5 Roof load documentation**. The structural design loads for roof dead load and roof live load shall be clearly indicated on the construction documents.

**RB 103.6 Interconnection pathway**. Construction documents shall indicate pathways for routing of conduit or plumbing from the *solar ready zone* to the electrical service panel or service hot water system.

**RB 103.7 Electrical service reserved space**. The main electrical service panel shall have a reserved space to allow installation of a dual pole circuit breaker for future solar electric installation and shall be labeled “For Future Solar Electric”. The reserved space shall be positioned at the opposite (load) end from the input feeder location or main circuit location.

**RB 103.8 Construction documentation certificate**. A permanent certificate, indicating the *solar ready zone* and other requirements of this section, shall be posted near the electrical distribution panel, water heater or other conspicuous location by the builder or registered design professional.

**APPENDIX C**

**EXTERIOR DESIGN CONDITIONS**

As required by Section R302.2, the heating or cooling outdoor design temperatures shall be selected from Table C-1.

**TABLE C-1**

**OUTDOOR DESIGN TEMPERATURES**

|  |  |  |
| --- | --- | --- |
| **Location** | **Outdoor Design Temp Heating (°F)** | **Outdoor Design Temp Cooling (°F)** |
| Aberdeen 20NNE | 25 | 83 |
| Anacortes | 24 | 72 |
| Anatone | -4 | 89 |
| Auburn | 25 | 84 |
| Battleground | 19 | 91 |
| Bellevue | 24 | 83 |
| Bellingham 2N | 19 | 78 |
| Blain | 17 | 73 |
| Bremerton | 29 | 83 |
| Burlington | 19 | 77 |
| Chehalis | 21 | 87 |
| Chelan | 10 | 89 |
| Cheney | 4 | 94 |
| Chesaw | -11 | 81 |
| Clarkston | 10 | 94 |
| Cle Elum | 1 | 91 |
| Colfax 1NW | 2 | 94 |
| Colville AP | -2 | 92 |
| Concrete | 19 | 83 |
| Connell 4NNW | 6 | 100 |
| Cougar 5E | 25 | 93 |
| Dallesport AP | 14 | 99 |
| Darrington RS | 13 | 85 |
| Davenport | 5 | 92 |
| Edmonds | 24 | 82 |
| Ellensburg AP | 2 | 90 |
| Elma | 24 | 88 |
| Ephrata AP | 7 | 97 |
| Everett Paine AFB | 21 | 79 |
| Forks 1E | 23 | 81 |
| Glacier RS | 13 | 82 |
| Glenoma (Kosmos) | 18 | 89 |
| Goldendale | 7 | 94 |
| Grays River Hatchery | 24 | 86 |

|  |  |  |
| --- | --- | --- |
| **Location** | **Outdoor Design Temp Heating (°F)** | **Outdoor Design Temp Cooling (°F)** |
| Greenwater | 1.4 | 84 |
| Grotto | 21 | 84 |
| Hoquiam AP | 26 | 79 |
| Inchelium 2NW | 0 | 92 |
| John Day Dam | 19 | 100 |
| Long Beach 3NNE | 25 | 77 |
| Longview | 24 | 87 |
| Lower Granite Dam | 14 | 98 |
| Lower Monument Dam | 18 | 103 |
| Marysville | 23 | 79 |
| Metaline Falls | -1 | 89 |
| Methow 2W | 1 | 89 |
| Nespelem 2S | -4 | 93 |
| Newhalem | 19 | 89 |
| Newport | -5 | 92 |
| Northport | 2 | 92 |
| Oak Harbor | 16 | 74 |
| Odessa | 7 | 100 |
| Olga 2SE | 24 | 71 |
| Olympia AP | 17 | 85 |
| Omak 2NW | 3 | 90 |
| Oroville | 5 | 93 |
| Othello | 9 | 98 |
| Packwood | 16 | 90 |
| Plain | -3 | 89 |
| Pleasant View | 16 | 98 |
| Pomeroy | 3 | 95 |
| Port Angeles | 28 | 75 |
| Port Townsend | 25 | 76 |
| Prosser | 12 | 97 |
| Puyallup | 19 | 86 |
| Quilcene 2SW | 23 | 83 |
| Quinault RS | 25 | 84 |

|  |  |  |
| --- | --- | --- |
| **Location** | **Outdoor Design Temp Heating (°F)** | **Outdoor Design Temp Cooling (°F)** |
| Rainier, Longmire | 15 | 85 |
| Paradise RS | 8 | 71 |
| Raymond | 28 | 81 |
| Redmond | 17 | 83 |
| Republic | -9 | 87 |
| Richland | 11 | 101 |
| Ritzville | 6 | 99 |
| Satus Pass | 10 | 90 |
| Seattle: SeaTac AP | 24 | 83 |
| Sedro Woolley 1E | 19 | 78 |
| Sequim | 23 | 78 |
| Shelton | 23 | 85 |
| Smyrna | 8 | 102 |
| Snohomish | 21 | 81 |
| Snoqualmie Pass | 6 | 80 |
| Spokane AP | 4 | 92 |
| Spokane CO | 10 | 96 |
| Stampede Pass | 7 | 76 |
| Stehekin 3 NW | 12 | 85 |
| Stevens Pass | 6 | 77 |
| Tacoma CO | 29 | 82 |
| Tatoosh Island | 31 | 63 |
| Toledo AP | 17 | 84 |
| Vancouver | 22 | 88 |
| Vashon Island | 28 | 78 |
| Walla Walla AP | 6 | 96 |
| Waterville | 1 | 88 |
| Wellpinit | 1 | 93 |
| Wenatchee CO | 10 | 92 |
| Whidbey Island | 11 | 71 |
| Willapa Harbor | 26 | 81 |
| Wilson Creek | 3 | 96 |
| Winthrop 1WSW | -12 | 91 |
| Yakima AP | 11 | 94 |

**ABBREVIATIONS:** AFB Air Force Base AP Airport CO City Office RS Ranger Station

Typical: "4(miles)NE"